## Application Information Sch
Please make any amendments in red text or via comments
Application Information Schedule
Date:
Project:
Application Reference:
Name of Applicant :
Notes
BSR’s position is that where reasonably practicable all design details necessary to demonstrate compliance with the functional requirements of the building regulations, are contained in the original Building Control Approval Application (Gateway 2 application). Where it is not reasonably practicable to provide such design details, distinct design elements may be appropriate as an agreed requirement with a view to the Regulator granting an Approval with Requirements, as per Regulation 7(2)(b) and Regulation 15(2)(b) of The Building (Higher-Risk Buildings Procedures) (England) Regulations 2023.
Whilst the guidance document has been produced in collaboration with the BSR, the example requirements cited below in this annex are proposed solely by CLC. It is the responsibility of the applicant to articulate why it is not reasonably practicable to provide these design elements in the original Building Control Approval Application. The BSR will assess reasonably, the appropriateness of design details as requirements on a case-by-case basis and on the merits of each individual application, with determinations, being made in consultation with relevant expert multi-disciplinary team members.
This document should be read in conjunction with CLC Guidance Note 04 Application Information Schedule. The objectives of this Application Information Schedule are to: 1. Signpost the sub-folders and files to the Approved Documents; 2. Identify the entity responsible for the providing the design; 3. Provide guidance on the sufficiency of the design for a Building Control Approval application and the proposed information that may be provided for Approval with Requirements.
Files are allocated only once to their primary folder
|  | Information to be provided at the date of application |  |  | Information to be provided in accordance with the agreed Approval with Requirements |  | Gateway 3 Submission Information [Submission information sufficient to demonstrate that the Building Regulations are complied with and to enable the issuing of the completion certificate]
The Building Regulations 2010 (Schedule 1) Requirements | Clarification [What does this information cover] | Building Element | Consultant Input | Contractor Input | Consultant Input | Contractor Input | Consultant Input | Contractor Input
APPROVED DOCUMENT A - STRUCTURE
Loading A1.—(1) The building shall be constructed so that the combined dead, imposed and wind loads are sustained and transmitted by it to the ground— (a) safely; and (b) without causing such deflection or deformation of any part of the building, or such movement of the ground, as will impair the stability of any part of another building. (2) In assessing whether a building complies with sub-paragraph (1) regard shall be had to the imposed and wind loads to which it is likely to be subjected in the ordinary course of its use for the purpose for which it is intended. Ground Movement A2. The building shall be constructed so that ground movement caused by— (a) swelling, shrinkage or freezing of the subsoil; or (b) land-slip or subsidence (other than subsidence arising from shrinkage), in so far as the risk can be reasonably foreseen, will not impair the stability of any part of the building. Disproportionate collapse A3. The building shall be constructed so that in the event of an accident the building will not suffer collapse to an extent disproportionate to the cause. | Provide design philosophy for the structure including report to prove the sensitivity of the structure to disproportionate collapse | Structural Reports | 0.2.1 - Structural Basis of Design 0.2.2 - Movement and Tolerance 0.2.3 - Structural Safety Case 0.2.4 - Structural Specification 0.2.5 - Structural Calculations 0.2.6 - Structural Modelling Validation 0.2.7 - Technical Notes | - | - | - | 0.2.1 - Structural Basis of Design 0.2.2 - Movement and Tolerance 0.2.3 - Structural Safety Case 0.2.4 - Structural Specification 0.2.5 - Structural Calculations 0.2.6 - Structural Modelling Validation 0.2.7 - Technical Notes | -
| Provide detailed site investigation inc. earthworks proposals | Ground Investigation, Earthworks and Remediation | 0.1.1 - Ground Investigation Report 0.1.2 - Remediation Method Statement 0.1.3 - Supplementary Geo-environmental Site Assessment 0.1.4 - Gas Monitoring Assessment 0.1.5 - Gas Specification 0.1.6 - Flood Risk Assessment 1.1.1 - Topographical Survey 1.1.2 - Proposed Levels 1.1.3 - Tree Influence Zones | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification | - | - | 0.1.1 - Ground Investigation Report 0.1.2 - Remediation Method Statement 0.1.3 - Supplementary Geo-environmental Site Assessment 0.1.4 - Gas Monitoring Assessment 0.1.5 - Gas Specification 0.1.6 - Flood Risk Assessment 1.1.1 - Topographical Survey 1.1.2 - Proposed Levels 1.1.3 - Tree Influence Zones | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification
| Provide details of foundation /substructure design including drawings and calculations & pile testing regime. Note that pile logs and test results will be required to verify the piling | Piling | 1.2.1 - Pile Layout Design 1.2.2 - Pile Load Schedule 1.2.4 - Pile Testing Strategy | 1.2.3 - Pile Calculations | - | - | 1.2.1 - Pile Layout Design 1.2.2 - Pile Load Schedule 1.2.4 - Pile Testing Strategy | 1.2.3 - Pile Calculations 1.2.4 - Pile Logs & Test Results
| Provide sub-structure design and calculations | Sub-structure Works | 1.3.1 - Substructure Drawings (General Arrangement) 1.3.2 - Substructure Structural Details 1.3.3 - Substructure Details (Including Waterproofing Membrane Information) 1.3.4 - Substructure Rebar Intent Drawings | - | 2.2.6 - Sub-structure Reinforcement Drawings | 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification | 1.3.1 - Substructure Drawings (General Arrangement) 1.3.2 - Substructure Structural Details 1.3.3 - Substructure Details (Including Waterproofing Membrane Information) 1.3.4 - Pile Cap Rebar Schedules 1.3.5 - Lift Pit Rebar Schedules | 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification
| Provide super-structure design and calculations Provide staircase design and calculations, including the external landing / balconies. | Concrete Frame | 0.2.5 - Structural Calculations 2.2.1 - GA drawings with Service Penetrations, SVP and RWP Penetrations 2.2.2 - Stair Setting Out Drawings 2.2.3 - Balcony Details 2.2.4 - Key Slab Edge Details 2.2.6 - Reinforcement Design Intent Drawings 2.10.1 - Balcony - Consultant Typical Details 2.13.2 - Typical Door Threshold Details | 2.10.2.1 - Balcony Contractor Information - General Arrangement Drawings 2.10.2.2 - Balcony Contractor Information - Typical Details 2.10.2.3 - Balcony Structural Calculations (Typical arrangement justifying bracket supports and fixings) | 2.2.6 - Sub-structure Reinforcement Drawings 2.2.7 - Super-structure Reinforcement Drawings 2.2.8 - Reinforcement Schedules 0.4.11 - NBS Specifications | 2.10.2.2 - Balcony Contractor Information - Full Pack of Details 2.10.2.3 - Full Balcony Structural Calculations 2.10.2.4 - Balcony Contractor Information - Specifications | 0.2.5 - Structural Calculations 2.2.1 - GA drawings with Service Penetrations, SVP and RWP Penetrations 2.2.2 - Stair Setting Out Drawings 2.2.3 - Balcony Details 2.2.4 - Key Slab Edge Details 2.2.6 - Reinforcement Drawings 2.2.7 - Reinforcement Schedules 2.10.1 - Balcony - Consultant Typical Details 2.13.2 - Typical Door Threshold Details | 2.10.2.1 - Balcony Contractor Information - General Arrangement Drawings 2.10.2.2 - Balcony Contractor Information - Full Pack of Details 2.10.2.3 - Full Balcony Structural Calculations 2.10.2.4 - Balcony Contractor Information - Specifications 2.10.2.5 - Balcony Contractor Information - Certificates
| Provide details of specialist roof access equipment with associated loadings and connection details | Specialist Roof Systems | 0.3.2 - Proposed Access & Maintenance Strategy 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) | 2.4.1.1 - Specialist Roof Access - Abseil General Arrangement Layouts & Typical Details 2.4.1.2 - Specialist Roof Access - Abseil Specifications 2.4.1.3 - Specialist Roof Access - Abseil Calculations 2.4.2.1 - Specialist Roof Access - Fall Restraint General Arrangement Layouts & Typical Details 2.4.2.2 - Specialist Roof Access - Fall Restraint Specification 2.4.2.3 - Specialist Roof Access - Fall Restraint Calculations | 0.3.2 - Final Access & Maintenance Strategy | 2.4.1.1 - Specialist Roof Access - Abseil General Arrangement Layouts & Full Pack of Details 2.4.2.1 - Specialist Roof Access - Fall Restraint General Arrangement Layouts & Full Pack of Details | 0.3.2 - Proposed Access & Maintenance Strategy 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) | 2.4.1.1 - Specialist Roof Access - Abseil General Arrangement Layouts 2.4.1.2 - Specialist Roof Access - Abseil Specifications 2.4.1.3 - Specialist Roof Access - Abseil Calculations 2.4.2.1 - Specialist Roof Access - Fall Restraint General Arrangement Layouts 2.4.2.2 - Specialist Roof Access - Fall Restraint Specification 2.4.2.3 - Specialist Roof Access - Fall Restraint Calculations 2.4.2.4 - Specialist Roof Access - Fall Restraint Test Certificates 2.4.125 - Specialist Roof Access - Fall Restraint O&M
| Provide details of masonry support system and associated external wall details and support systems | External Brickwork/Masonry | 2.2.3 - Balcony Details 2.2.4 - Key Slab Edge Details 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.10.1 - Balcony - Consultant Typical Details | 2.10.2.1 - Balcony Contractor Information - General Arrangement Drawings 2.10.2.2 - Balcony Contractor Information - Typical Details 2.10.2.3 - Balcony Structural Calculations (Typical arrangement justifying bracket supports and fixings) 2.2.5.1 - Specialist Masonry Support - General Arrangement Layouts 2.2.5.2 - Specialist Masonry Support - Typical Details 2.2.5.3 - Specialist Masonry Support - Specification | - | 2.10.2.2 - Balcony Contractor Information - Full Pack of Details 2.2.5.2 - Specialist Masonry Support - Full Pack of Details | 2.2.3 - Balcony Details 2.2.4 - Key Slab Edge Details 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.10.1 - Balcony - Consultant Typical Details | 2.10.2.1 - Balcony Contractor Information - General Arrangement Drawings 2.10.2.2 - Balcony Contractor Information - Full Pack of Details 2.10.2.3 - Full Balcony Structural Calculations 2.10.2.4 - Balcony Contractor Information - Specifications 2.10.2.5 - Balcony Contractor Information - Certificates 2.2.5.1 - Specialist Masonry Support - General Arrangement Layouts 2.2.5.2 - Specialist Masonry Support - Full Details 2.2.5.3 - Specialist Masonry Support - Specification 2.2.5.4 - Specialist Masonry Support - Certificates/Test Data
| Provide details of cladding support systems and interfaces | Cladding/Curtain Walling | 0.3.1 - Façade Specification 2.8.1 - External Wall Type Drawing 2.11.1 - External Cladding/Curtain Walling - Typical Details | - |  | 2.11.2.1 - Specialist Cladding/Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Cladding/Curtain Walling - Specifications 2.11.2.3 - Specialist Cladding/Curtain Walling - Calculations 2.11.2.4 - Specialist Cladding/Curtain Walling - Certification | 0.3.1 - Façade Specification 2.8.1 - External Wall Type Drawing 2.11.1 - External Curtain Walling - Typical Details | 2.11.2.1 - Specialist Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Curtain Walling - Specifications 2.11.2.3 - Specialist Curtain Walling - Calculations 2.11.2.4 - Specialist Curtain Walling - Certification 2.11.2.5 - Specialist Curtain Walling - O&M
APPROVED DOCUMENT B - FIRE SAFETY
B1. The building shall be designed and constructed so that there are appropriate provisions for the early warning of fire, and appropriate means of escape in case of fire from the building to a place of safety outside the building capable of being safely and effectively used at all material times. B2.—(1) To inhibit the spread of fire within the building, the internal linings shall:- (a) adequately resist the spread of flame over their surfaces; and (b) have, if ignited, either a rate of heat release or a rate of fire growth, which is reasonable in the circumstances. (2) In this paragraph “internal linings” means the materials or products used in lining any partition, wall, ceiling or other internal structure. Internal fire spread (structure) B3.—(1) The building shall be designed and constructed so that, in the event of fire, its stability will be maintained for a reasonable period. (2) A wall common to two or more buildings shall be designed and constructed so that inadequately resists the spread of fire between those buildings. For the purposes of this sub-paragraph a house in a terrace and a semi-detached house are each to be treated as a separate building. (3) Where reasonably necessary to inhibit the spread of fire within the building, measures shall be taken, to an extent appropriate to the size and intended use of the building, comprising either-or both of the following— (a) sub-division of the building with fire-resisting construction; (b) installation of suitable automatic fire suppression systems. (4) The building shall be designed and constructed so that the unseen spread of fire and smoke within concealed spaces in its structure and fabric is inhibited. B4.—(1) The external walls of the building shall adequately resist the spread of fire over the walls and from one building to another, having regard to the height, use and position of the building. (2) The roof of the building shall adequately resist the spread of fire over the roof and from one building to another, having regard to the use and position of the building. Access and facilities for the fire service B5.—(1) The building shall be designed and constructed so as to provide reasonable facilities to assist fire fighters in the protection of life. (2) Reasonable provision shall be made within the site of the building to enable fire appliances to gain access to the building. | Provide fire strategy report. | Fire/Specialist Consultant Reports | 0.6.1 - Fire Strategy Report | - | - | - | 0.6.1 - Fire Strategy Report | -
| CFD analysis to justify the mechanical ventilation to the common corridors and internal layouts where deviations away from the relevant guidance are proposed. | Fire/Specialist Consultant Reports | 0.6.2 - CFD Report (if by consultant) | 0.6.2 - CFD Report (if by specialist) | - | - | 0.6.2 - CFD Report (if by consultant) | 0.6.2 - CFD Report (if by specialist)
| CFD Data Files | Fire/Specialist Consultant Reports | 0.6.3 - CFD Input/Output Data (If by Consultant) | 0.6.3 - CFD Input/Output Data (If by Specialist) | - | - | 0.6.3 - CFD Input/Output Data (If by Consultant) | 0.6.3 - CFD Input/Output Data (If by Specialist)
| Provide fire strategy plans and elevations (including location of designated escape routes, compartments, fire doors etc). | Plans, sections & elevations Dry lining Internal Doors | 2.1.1 - Architectural Plans, Sections and Elevations 2.1.2 - Fire Strategy Plans 2.1.3 - Fire Strategy Elevations 2.1.4 - Typical Dwelling Plans 2.14.1 - Internal Wall Type Drawings 2.14.3 - Firestopping - Location Plan 2.14.4 - Firestopping - Typical Penetration Details 2.15.1 - Internal Door Schedule 2.15.2 - Internal Door Typical Details | 2.14.5.1 - Internal Fire-stopping - Specification 2.14.5.2 - Internal Fire-stopping - Test Data | 2.14.4 - Full Pack of Firestopping Penetration Details | 2.15.3.1 - Internal Fire Door Manufacturer - Full Pack of Details 2.15.3.2 - Internal Fire Door Manufacturer - Specifications | 2.1.1 - Architectural Plans, Sections and Elevations 2.1.2 - Fire Strategy Plans 2.1.3 - Fire Strategy Elevations 2.1.4 - Typical Dwelling Plans 2.14.1 - Internal Wall Type Drawings 2.14.3 - Firestopping - Location Plan 2.14.4 - Full Pack of Firestopping Penetration Details 2.15.1 - Internal Door Schedule 2.15.2 - Internal Door Details | 2.14.5.1 - Internal Fire-stopping - Specification 2.14.5.2 - Internal Fire-stopping - Test Data 2.14.5.3 - Internal Fire-stopping - Installation Records 2.14.5.4 - Internal Fire-stopping - FIRAS/IFC Certificates
| Provide fire alarm layouts and specification (including smoke detectors, fire alarm call points, sounders, panel location and link to central monitoring station). | Electrical Designs | 0.5.2 - Electrical Specification 3.2.12 - Fire Alarm Schematic | 3.2.14.1 - Fire Alarm Specialist - General Arrangement Layouts 3.2.14.2- Fire Alarm Specialist - Specifications 3.2.14.3 - Fire Alarm Specialist - Certification 3.2.14.4 - Fire Alarm Specialist - Typical Evacuation Alarm Sound Levels Layouts | - | 3.2.14.4 - Fire Alarm Specialist - Evacuation Alarm Sound Levels Layouts | 0.5.2 - Electrical Specification 3.2.12 - Fire Alarm Schematic | 3-2-14-1 - Fire Alarm Specialist - General Arrangement Layouts 3-2-14-2- Fire Alarm Specialist - Specifications 3-2-14-3 - Fire Alarm Specialist - Certification 3-2-14-4 - Fire Alarm Specialist - Evacuation Alarm Sound Levels Layouts 3-2-14-5 - Fire Alarm Specialist - Commissioning 3-2-14-6 - Fire Alarm Specialist - O&M
| Provide emergency lighting layouts and specification to BS 5266. | Electrical Designs | 0.5.2 - Electrical Specification 3.2.4 - Lighting Layouts 3.2.16 - Common Area Lighting - Lux Level Calculations | - | - | - | 0.5.2 - Electrical Specification 3.2.4 - Lighting Layouts 3.2.16 - Common Area Lighting - Lux Level Calculations | -
| Provide emergency fire signage layouts and details to BS 5499. | Plans, sections & elevations Electrical Designs | 2.1.2 - Fire Strategy Plans 0.5.2 - Electrical Specification | - | - | - | 2.1.2 - Fire Strategy Plans 0.5.2 - Electrical Specification | -
| Provide door schedule (including fire rating, clear opening width and vision panels), door ironmongery including security access control measures. Please note that test certification for the complete fire rated door sets will be required to verify compliance, reference should also be made to ironmongery specification. | Internal Doors | 2.15.1 - Internal Door Schedule 2.15.2 - Internal Door Typical Details | 2.15.3.1 - Internal Fire Door Manufacturer - Typical Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification | 2.15.2 - Internal Door Full Pack of Details | 2.15.3.1 - Internal Fire Door Manufacturer - Details | 2.15.1 - Internal Door Schedule 2.15.2 - Internal Door Details | 2.15.3.1 - Internal Fire Door Manufacturer - Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification 2.15.3.3 - Internal Fire Door Manufacturer - Contractor Installation Records 2.15.3.4 - Internal Fire Door Manufacturer - FIRAS/IFC Certificates
| Provide construction details for fire rating to walls, shafts, ceilings to staircase enclosures in line with the fire strategy. | Architectural Specifications Plans, sections & elevations Dry-lining | 0.4.2 - Dry-lining Specification 2.1.2 - Fire Strategy Plans 2.14.1 - Internal Wall Type Drawings 2.14.2 - Typical Wall Type Sections, Junction Details and Schedule | - | - | - | 0.4.2 - Dry-lining Specification 2.1.2 - Fire Strategy Plans 2.14.1 - Internal Wall Type Drawings 2.14.2 - All Wall Type Sections, Junction Details and Schedule | -
| Provide details of cavity barriers in floor, ceiling and cavity voids (including in wall cavities at door and window thresholds). | External Walls | 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details | 2.8.3.1 - External Wall Fire-stopping - Specification 2.8.3.2 - External Wall Fire-stopping - Test Data | - | - | 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details | 2.8.3.1 - External Wall Fire-stopping - Specification 2.8.3.2 - External Wall Fire-stopping - Test Data 2.8.3.3 - External Wall Fire-stopping - Installation Records 2.8.3.4 - External Wall Fire-stopping - FIRAS/IFC Certificates
| Provide ventilation ductwork layouts and details (including damper locations and location of fire rated ductwork). | External Door and Louvres Internal Wall, Floor and Ceiling Mechanical & Public Health Designs | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling 2.14.3 - Firestopping - Location Plans 2.14.4 - Firestopping - Typical Penetration Details 3.3.3 - Mechanical Services Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations 2.14.5.1 - Internal Fire-stopping - Specification 2.14.5.2 - Internal Fire-stopping - Test Data | 2.14.4 - Firestopping - Full Pack of Penetration Details | 2.13.3.1 - Specialist External Door - Details 2.13.3.2 - Specialist External Door - Specifications 2.13.3.3 - Specialist External Door - Certification | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling 2.14.3 - Firestopping - Location Plans 2.14.4 - Firestopping - Full Pack of Penetration Details 3.3.3 - Mechanical Services Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.13.4 - Specialist Ventilation - Commissioning 3.3.13.5 - Specialist Ventilation - O&M 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations 3.3.14.4 - Specialist Smoke - Commissioning 3.3.14.5 - Specialist Smoke - O&M 2.14.5.1 - Internal Fire-stopping - Specification 2.14.5.2 - Internal Fire-stopping - Test Data 2.14.5.2 - Internal Fire-stopping - Installation Records 2.14.5.2 - Internal Fire-stopping - FIRAS/IFC Certification
| Please include details of fire stopping and collars to services with risers. | Mechanical & Public Health Designs | 2.14.4 - Firestopping - Typical Penetration Details |  | 2.14.4 - Firestopping - Full Pack of Penetration Details | - | 2.14.4 - Firestopping - Full Pack of Penetration Details
| Provide specification for external wall system proposed including build up, fire resistance on materials, surface fire spread ratings and cavity barrier provision. | Façade Specification Architectural Specifications External Walls SFS Metal Cladding/Curtain Walling External Windows | 0.3.1 - Façade Specification 0.4.1 - General Construction Specification 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.11.1 - External Curtain Walling - Typical Details 2.12.1 - Window Schedule 2.12.2 - Window - Typical Details | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 2.9.1.1 - SFS - General Arrangement Drawings 2.9.1.2 - SFS - Typical Details 2.9.1.3 - SFS - Specifications 2.9.1.4 - SFS - Test Certificates 2.9.1.5 - SFS - Structural Calculations 2.12.3.1 - Window Manufacturer - General Arrangement Layouts 2.12.3.2 - Window Manufacturer - Typical Details 2.12.3.3 - Window Manufacturer - Specifications 2.12.3.4 - Window Manufacturer - Certification | 2.11.1 - External Curtain Walling - Full Pack of Details 2.12.2 - Window - Full Pack of Details | 2.12.3.2 - Window Manufacturer - Full Pack of Details | 0.3.1 - Façade Specification 0.4.1 - General Construction Specification 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.11.1 - External Curtain Walling - Full Pack Details 2.12.1 - Window Schedule 2.12.2 - Window - Full Pack of Details | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 2.8.3.3 - External Fire-stopping - Installation Records 2.8.3.4 - FIRAS/IFC Certification 2.9.1.1 - SFS - General Arrangement Drawings 2.9.1.2 - SFS - Typical Details 2.9.1.3 - SFS - Specifications 2.9.1.4 - SFS - Test Certificates 2.9.1.5 - SFS - Structural Calculations 2.12.3.1 - Window Manufacturer - General Arrangement Layouts 2.12.3.2 - Window Manufacturer - Typical Details 2.12.3.3 - Window Manufacturer - Specifications 2.12.3.4 - Window Manufacturer - Certification
| Provide site plan showing fire services access arrangements, gate and road widths and distance from building to site boundaries. | Fire/Specialist Consultant Reports | 0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | - | - | - | 0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | -
| Provide hydrant locations within or adjacent to the site. (See point above). | Fire/Specialist Consultant Reports | 0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | - | - | - | 0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | -
| Provide details of surface finishes to all internal areas of the building detailing surface spread of flame characteristics ceiling and wall coverings etc. | Architectural Specifications Communal Wall, Floor and Ceiling Finishes | 0.4.4 - Communal Area Specification 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans 2.14.7 - Floor Type Drawings | - | - | - | 0.4.4 - Communal Area Specification 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans 2.14.7 - Floor Type Drawings | -
| Provide details any plastic lighting diffusers and roof lights. | Architectural Specifications Rooflights, skylights and openings | 0.4.1 - General Construction Specification | 2.5.1.1 - Specialist AOV - General Arrangement 2.5.1.2 - Specialist AOV - Specification 2.5.1.3 - Specialist AOV - Calculations 2.5.2.1 - Specialist Roof Hatch - General Arrangement 2.5.2.2 - Specialist Roof Hatch - Specification 2.5.2.3 - Specialist Roof Hatch - Calculations | 0.4.11 - Full NBS Specifications | - | 0.4.1 - General Construction Specification | 2.5.1.1 - Specialist AOV - General Arrangement 2.5.1.2 - Specialist AOV - Specification 2.5.1.3 - Specialist AOV - Calculations 2.5.1.4 - Specialist AOV - Commissioning 2.5.1.5 - Specialist AOV - O&M 2.5.2.1 - Specialist Roof Hatch - General Arrangement 2.5.2.2 - Specialist Roof Hatch - Specification 2.5.2.3 - Specialist Roof Hatch - Calculations 2.5.2.4 - Specialist Roof Hatch - Commissioning 2.5.2.5 - Specialist Roof Hatch - O&M
| Detail the proposed means of providing fire resistance to the elements of structure. | Structural Reports External Walls Dry-lining | 0.2.1 - Structural Basis of Design 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.14.1 - Internal Wall Type Drawings 2.14.2 - Typical Wall Type Sections, Junction Details and Schedule | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 0.4.2 - Drylining specification | 2.14.2 - Full Pack of Wall Type Sections, Junction Details and Schedule | - | 0.2.1 - Structural Basis of Design 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.14.1 - Internal Wall Type Drawings 2.14.2 - Full Pack of Wall Type Sections, Junction Details and Schedule | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 2.8.3.3 - External Fire-stopping - Installation Records 2.8.3.4 - FIRAS/IFC Certification 0.4.2 - Drylining specification
| Detail roof treatment over fire compartment and separating walls. | Architectural Specifications Roof Coverings | 0.4.1 - General Construction Specification 2.3.1 - Typical Roof details (Including Upstand, Flashing and Parapet) | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations | - | 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications | 0.4.1 - General Construction Specification 2.3.1 - Ful Pack of Roof details (Including Upstand, Flashing and Parapet) | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications 2.3.2.4 - Specialist Roofing - Certification
| Provide a specification for the sprinkler protection to flats and commercial spaces. | Mechanical & Public Health Designs | 3.3.1 - Typical Mechanical Apartment Layouts 3.3.3 - Communal Mechanical Services Layouts 0.5.1 - Mechanical Specification | 3.3.16.1 - Sprinklers - General Arrangement Layouts 3.3.16.2 - Sprinklers - Specification 3.3.16.3 - Sprinklers - Calculations | 3.3.1 - Full Mechanical Apartment Layouts | 3.3.16.4 - Sprinkler Details | 3.3.1 - Mechanical Apartment Layouts 3.3.3 - Mechanical Services Layouts 0.5.1 - Mechanical Specification | 3.3.16.1 - Sprinklers - General Arrangement Layouts 3.3.16.2 - Sprinklers - Specification 3.3.16.3 - Sprinklers - Calculations 3.3.16.45- Sprinklers - Commissioning 3.3.16.6 - Sprinklers - O&M
| Please provide full details of the firefighting lift installation. | Fire/Specialist Consultant Reports Lifts Mechanical & Public Health Designs | 0.6.1 - Fire Strategy 2.7.1 - Lift - Typical Details 3.3.3 - Communal Mechanical Services Layouts | 2.7.2.1 - Lift - General Arrangement Layouts 2.7.2.2 - Lift - Typical Details 2.7.2.3 - Lift - Specifications | - | 2.7.2.2 - Lift - Full Pack of Details | 0.6.1 - Fire Strategy 2.7.1 - Lift - Typical Details 3.3.3 - Mechanical Services Layouts | 2.7.2.1 - Lift - General Arrangement Layouts 2.7.2.2 - Lift - Details 2.7.2.3 - Lift - Specifications 2.7.3.4 - Lift - Commissioning 2.7.3.5 - Lift - O&M
| Provide details of smoke ventilation to the common corridors designed in accordance with the CFD analysis provided by the fire engineer. | Fire/Specialist Consultant Reports Mechanical & Public Health Designs | 0.6.1 - Fire strategy 0.6.2 - CFD | 0.6.3 - CFD Input/Output Files 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations | - | - | 0.6.1 - Fire strategy 0.6.2 - CFD | 0.6.3 - CFD Input/Output Files 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations 3.3.14.4 - Specialist Smoke - Commissioning 3.3.14.5 - Specialist Smoke - O&M
| Provide details of the wet/dry riser installation to the building. | Fire/Specialist Consultant Reports | 0.6.1 - Fire Strategy 3.3.7 - Dry/Wet Riser Schematic | 3.3.17.1 - Dry/Wet Riser - General Arrangement Layouts 3.3.17.2 - Dry/Wet Riser - Specification | - | 3.3.17.3 - Dry/Wet Riser - Calculations | 0.6.1 - Fire Strategy 3.3.7 - Dry Riser Schematic | 3.3.17.1 - Dry Riser - General Arrangement Layouts 3.3.17.2 - Dry Riser - Specification 3.3.17.3 - Dry Riser - Calculations 3.3.17.4 - Dry Riser - Commissioning 3.3.17.5 - Dry Riser - O&M
APPROVED DOCUMENT PART C - SITE PREPARATION & RESITANCE TO MOISTURE
C1.—(1) The ground to be covered by the building shall be reasonably free from any material that might damage the building or affect its stability, including vegetable matter, topsoil and pre-existing foundations. (2) Reasonable precautions shall be taken to avoid danger to health and safety caused by contaminants on or in the ground covered, or to be covered by the building and any land associated with the building. (3) Adequate sub-soil drainage shall be provided, if it is needed to avoid:- (a) the passage of ground moisture to the interior of the building; (b) damage to the building, including damage through the transport of water-borne contaminants to the foundations of the building. (4) For the purposes of this requirement, "contaminant” means any substance which is or may become harmful to persons or buildings including substances which are corrosive, explosive flammable, radioactive or toxic. Resistance to moisture C2. The walls, floors and roof of the building shall adequately protect the building and people who use the building from harmful effects caused by (a) ground moisture; (b) precipitation including wind-driven spray; (c) interstitial and surface condensation; and (d) spillage of water from or associated with sanitary fittings or fixed appliances. | Provide site investigation / contamination report. | Geotechnical reports Architectural Specifications Ground Investigation, Earthworks and Remediation | 0.1.1 - Ground Investigation Report 0.1.2 - Contamination and Remediation Report 0.1.3 - Supplementary Geo-environmental Site Assessment 0.1.4 - Gas Monitoring Assessment 0.1.5 - Gas Specification 0.1.6 - Flood Risk Assessment 0.4.1 - General Construction Specification | - | 0.4.11 - NBS Specifications | - | 0.1.1 - Ground Investigation Report 0.1.2 - Contamination and Remediation Report 0.1.3 - Supplementary Geo-environmental Site Assessment 0.1.4 - Gas Monitoring Assessment 0.1.5 - Gas Specification 0.1.6 - Flood Risk Assessment 0.4.1 - General Construction Specification 0.4.11 - NBS Specifications | -
| Provide detailed sections of external walling/cladding at ground floor, floor slab intersections, around window openings and at roof level. | Architectural Specifications Concrete Frame Roof Coverings External brickwork/masonry Cladding/Curtain Walling External Windows | 0.4.1 - General Construction Specification 1.3.3 - Substructure Details (Including Waterproofing Membrane Information) 2.2.4 - Key Slab Edge Details 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.11.1 - External Cladding/Curtain Walling - Typical Details 2.12.1 - Window Schedule 2.12.2 - Window - Typical Details 2.13.2 - Typical Door Threshold Details | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations 2.12.3.1 - Window Manufacturer - General Arrangement Layouts 2.12.3.2 - Window Manufacturer - Typical Details 2.12.3.3 - Window Manufacturer - Specifications | - | 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications 2.11.2.1 - Specialist Cladding/Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Cladding/Curtain Walling - Specifications 2.11.2.3 - Specialist Cladding/Curtain Walling - Calculations 2.11.2.4 - Specialist Cladding/Curtain Walling - Certification 2.12.3.2 - Window/External Door Manufacturer - Full Pack of Details 2.12.3.4 - Window/External Door Manufacturer - Certification | 0.4.1 - General Construction Specification 1.3.3 - Substructure Details (Including Waterproofing Membrane Information) 2.2.4 - Key Slab Edge Details 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.11.1 - External Curtain Walling - Full Pack of Details 2.12.1 - Window Schedule 2.12.2 - Window - Full Pack of Details 2.13.2 - Full Pack of Door Threshold Details | 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications 2.3.2.4 - Specialist Roofing - Certification 2.11.2.1 - Specialist Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Curtain Walling - Specifications 2.11.2.3 - Specialist Curtain Walling - Calculations 2.11.2.4 - Specialist Curtain Walling - Certification 2.12.3.2 - Window Manufacturer - Full Pack of Details2.12.3.1 - Window Manufacturer - General Arrangement Layouts 2.12.3.2 - Window Manufacturer - Typical Details 2.12.3.3 - Window Manufacturer - Specifications 2.12.3.4 - Window Manufacturer - Certification
| Provide details of tanking arrangements to the basement construction. | Architectural Specifications Sub-structure Works | 0.4.1 - General Construction Specification | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification | - | 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification | 0.4.1 - General Construction Specifications | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification 1-3-6-1 - Specialist Waterproofing Details 1-3-6-2 - Specialist Waterproofing Specification
| Provide detail of roof construction (including venting of any cold roofs, insulation, roof membranes etc.). | Architectural Specifications Plans, Sections & Elevations Roof Coverings | 0.4.1 - General Construction Specification 2.1.1 - Architectural Plans, Sections and Elevations 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations | - | 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications | 0.4.1 - General Construction Specification 2.1.1 - Architectural Plans, Sections and Elevations 2.3.1 - Roof Details (Including Upstands, Flashings and Parapets) | 0.1.7 - Gas Membrane Technical Details 0.1.8 - Gas Membrane Specification 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications 2.3.2.4 - Specialist Roofing - Certification
| Provide threshold details for external doors, drainage arrangements etc. | Concrete Frame | 2.2.4 - Key Slab Edge Details 2.13.2 - Typical Door Threshold Details |  | 2.2.4 - Full Pack of Slab Edge Details 2.13.2 - Full Pack of Door Threshold Details | - | 2.2.4 - Full Pack of Slab Edge Details 2.13.2 - Full Pack of Door Threshold Details | -
PART D - TOXIC SUBSTANCES
D1. To reduce the risks to health of persons in buildings formaldehyde fumes given off by urea formaldehyde foams should not penetrate to the occupied parts of buildings to an extent which would give rise to an irritant concentration. | Provide Façade Specification to demonstrate exclusion of Urea Formaldehyde Foam Material in façade construction. | Metal Cladding/Curtain Walling | 0.3.1 - Façade Specification |  |  |  | 0.3.1 - Façade Specification | -
PART E - RESISTANCE TO THE PASSAGE OF SOUND
E1. Dwelling-houses, flats and rooms for residential purposes shall be designed and constructed in such a way that they provide reasonable resistance to sound from other parts of the same building and from adjoining buildings. Protection against sound within a dwelling-house etc E2. Dwelling-houses, flats and rooms for residential purposes shall be designed and constructed in such a way that:- (a) internal walls between a bedroom or a room containing a water closet, and other rooms; and (b) internal floors, provide reasonable resistance to sound. Reverberation in common internal parts of buildings containing flats or rooms for residential purposes E3. The common internal parts of buildings which contain flats or rooms for residential purposes shall be designed and constructed in such a way as to prevent more reverberation around the common parts than is reasonable. | Provide an acoustic report for the building showing strategy for Part E compliance. | Acoustic Report | 0.7.1 - Acoustic Report | - | - | - | 0.7.1 - Acoustic Report | -
| Provide detailed sections for separating walls, floors and junctions. | Plans, Sections & Elevations Concrete frame External Wall SFS Metal Cladding/Curtain Walling | 2.1.1 - Architectural Plans, Sections and Elevations 2.2.4 - Key Slab Edge Details 2.13.2 - Typical Door Threshold Details 2.11.1 - External Curtain Walling - Typical Details 2.12.1 - Window Schedule 2.12.2 - Window - Typical Details | 2.9.1.1 - SFS - General Arrangement Drawings 2.9.1.2 - SFS - Typical Details 2.9.1.3 - SFS - Specifications 2.9.1.4 - SFS - Test Certificates | 2.2.4 - Full Pack of Slab Edge Details 2.13.2 - Full Pack of Door Threshold Details | 2.9.1.2 - SFS - Full Pack of Details 2.9.1.5 - SFS - Structural Calculations 2.11.2.1 - Specialist Cladding/Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Cladding/Curtain Walling - Specifications 2.11.2.3 - Specialist Cladding/Curtain Walling - Calculations 2.11.2.4 - Specialist Cladding/Curtain Walling - Certification | 2.1.1 - Architectural Plans, Sections and Elevations 2.2.4 - Full Pack of Slab Edge Details 2.13.2 - Full Pack of Door Threshold Details 2.11.1 - External Curtain Walling - Full Pack of Details 2.12.1 - Window Schedule 2.12.2 - Window - Full Pack of Details | 2.9.1.1 - SFS - General Arrangement Drawings 2.9.1.2 - SFS - Typical Details 2.9.1.3 - SFS - Specifications 2.9.1.4 - SFS - Test Certificates 2.9.1.5 - SFS - Structural Calculations2.11.2.1 - Specialist Curtain Walling - Fabrication Details 2.11.2.2 - Specialist Curtain Walling - Specifications 2.11.2.3 - Specialist Curtain Walling - Calculations 2.11.2.4 - Specialist Curtain Walling - Certification
| Provide a strategy for pre-completion sound testing regime to be adopted. | Acoustic Report | 0.7.1 - Acoustic Report | - | - | - | 0.7.1 - Acoustic Report | -
| Detail the finishes with the common corridors that limit reverberation, in line with the performance criteria detailed in the acoustic report. | Acoustic Report Communal Wall & Ceiling Finishes | 0.7.1 - Acoustic Report 0.4.4 - Communal Area Specification | - | - | - | 0.7.1 - Acoustic Report 0.4.4 - Communal Area Specification | -
PART F - VENTILATION
F1 (1) There shall be adequate means of ventilation provided for people in the building. (2) Fixed systems for mechanical ventilation and any associated controls must be commissioned by testing and adjusting as necessary to secure that the objective referred to in sub-paragraph (1)is met. | Provide a strategy for ventilation to the individual flats in line with the ventilation strategies set out in Part F, including purge ventilation, background ventilation and mechanical extract. | Architectural Reports Mechanical & Public Health Designs | 0.4.6 - Ventilation Strategy 3.3.1 - Typical Mechanical Apartment Layouts | - | 3.3.1 - Full Pack Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations | 0.4.6 - Ventilation Strategy 3.3.1 - Mechanical Apartment Layouts 3.3.13.3 - Flow Rate Calculations | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.13.4 - Specialist Ventilation - Commissioning 3.3.13.5 - Specialist Ventilation - O&M
| Detail ventilation provision to the ancillary areas of the building at basement and ground floor. | Mechanical & Public Health Designs | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling | 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations | - | 2.13.3.1 - Specialist External Door - Details 2.13.3.2 - Specialist External Door - Specifications 2.13.3.3 - Specialist External Door - Certification | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling | 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations 3.3.14.4 - Specialist Smoke - Commissioning 3.3.14.5 - Specialist Smoke - O&M
PART G – HYGIENE
G1.—(1) There must be a suitable installation for the provision of:- (a) wholesome water to any place where drinking water is drawn off; (b) wholesome water or softened wholesome water to any washbasin or bidet provided in or adjacent to a room containing a sanitary convenience; (c) wholesome water or softened wholesome water to any washbasin, bidet, fixed bath and shower in a bathroom; (d) wholesome water to any sink provided in any area where food is prepared. (2) There must be a suitable installation forth provision of water of suitable quality to any sanitary convenience fitted with a flushing device. G2. Reasonable provision must be made by the installation of fittings and fixed appliances that use water efficiently for the prevention of undue consumption of water. G2A. Reasonable provision must be made in the design and installation of any sanitary convenience, washbasin or shower so as to prevent the undue consumption of water. Hot water supply and systems G3. (1) There must be a suitable installation for the provision of heated wholesome water or heated softened water to— (a) any washbasin or bidet provided in or adjacent to a room containing a sanitary convenience; (b) any washbasin, bidet, fixed bath and shower in a bathroom; and (c) any sink provided in any area where food is prepared. (2) A hot water system, including any cistern or other vessel that supplies water to or receives expansion water from a hot water system, must be designed, constructed and installed so as to resist the effects of temperature and pressure that may occur either in normal use or in the event of such malfunctions as may reasonably be anticipated, and must be adequately supported. (3) A hot water system that has a hot water storage vessel must incorporate precautions to— (a) prevent the temperature of the water stored in the vessel at any time exceeding 100°C; (b) ensure that any discharge from safety devices is safely conveyed to where it is visible but will not cause a danger to persons in or about the building. (4) The hot water supply to any fixed bath must be so designed and installed as to incorporate measures to ensure that the temperature of the water than can be delivered to that bath does not exceed 48°C. Sanitary conveniences and washing facilities G4. (1) Adequate and suitable sanitary conveniences must be provided in rooms provided to accommodate them or in bathrooms. (2) Adequate hand washing facilities must be provided in— (a) rooms containing sanitary conveniences; or (b) rooms or spaces adjacent to rooms containing sanitary conveniences. (3) Any room containing a sanitary convenience, a bidet, or any facility for washing hands provided in accordance with sub-paragraph (2)(b), must be separated from any kitchen or any area where food is prepared. Bathrooms G5. A bathroom must be provided containing a washbasin and either a fixed bath or a shower Kitchens and food preparation areas G6. A suitable sink must be provided in any area where food is prepared. | Provide water efficiency calculators to demonstrate that the predicted water usage does not exceed 125 litres/person/day. | Mechanical & Public Health Designs | 0.4.8 - Water Efficiency Calculations | - | - | - | 0.4.8 - Water Efficiency Calculations | -
| Provide details of hot water storage and confirm hot water storage has been designed to not exceed 1000c. | MEPH Specifications | 0.5.1 - Mechanical Specification | - | - | - | 0.5.1 - Mechanical Specification | -
| There should be a mixer tap fitted to all baths to ensure the temperature of water does not exceed 480c. | MEPH Specifications | 0.5.1 - Mechanical Specification | - | - | - | 0.5.1 - Mechanical Specification | -
PART H - DRAINAGE AND WASTE DISPOSAL
H1.—(1) An adequate system of drainage shall be provided to carry foul water from appliances within the building to one of the following, listed in order of priority. (a) a public sewer; or where that is not reasonably practicable, (b) a private sewer communicating with a public sewer; or where that is not reasonably practicable, (c) either a septic tank which has an appropriate form of secondary treatment or another wastewater treatment system; or, where that is not reasonably practicable, (d) a cesspool. (2) In this Part “foul water” means waste water which comprises or includes— (a) waste from a sanitary convenience, bidet or appliance used for washing receptacles for foul waste; or (b) water which has been used for food preparation, cooking or washing. Requirement H1 does not apply to the diversion of water which has been used for personal washing or for the washing of clothes, linen or other articles to collection systems for reuse. Wastewater treatment systems and cesspools H2.—(1) Any septic tank and its form of secondary treatment, other waste water treatment system or cesspool, shall be so sited and constructed that— (a) it is not prejudicial to the health of any person; (b) it will not contaminate any watercourse, underground water or water supply; (c) there are adequate means of access for emptying and maintenance; and (d) where relevant, it will function to a sufficient standard for the protection of health in the event of a power failure (2) Any septic tank or holding tank which is part of a wastewater treatment system or cesspool shall be— (a) of adequate capacity; (b) so constructed that it is impermeable to liquids; and (c) adequately ventilated. (3) Where a foul water drainage system from a building discharges to a septic tank, wastewater treatment system or cesspool, a durable notice shall be affixed in a suitable place in the building containing information on any continuing maintenance required to avoid risks to health. Rainwater drainage H3.—(1) Adequate provision shall be made for rainwater to be carried from the roof of the building. (2) Paved areas around the building shall be so constructed as to be adequately drained. (3) Rainwater from a system provided pursuant to sub-paragraphs (1) or (2) shall discharge to one of the following, listed in order of priority— (a) an adequate soakaway or some other adequate infiltration system; or, where that is not reasonably practicable, (b) a watercourse; or, where that is not reasonably practicable, (c) a sewer. | Provide details of below ground foul water drainage including capacity calculations, pipe sizes, falls, surround, manhole schedules etc. | Below Ground Drainage and Services | 1.4.1 - Foul and Surface Water - General Arrangement Layouts 1.4.2 - Exceedance Flow Rates 1.4.3 - Manhole Schedule 1.4.4 - Drainage Statement 1.4.5 - Below Ground Construction Details | - | - | - | 1.4.1 - Foul and Surface Water - General Arrangement Layouts 1.4.2 - Exceedance Flow Rates 1.4.3 - Manhole Schedule 1.4.4 - Drainage Statement 1.4.5 - Below Ground Construction Details 1.4.6 - Drainage specifications including pipe bedding | -
| Provide details of above ground drainage details (including pipe sizes and capacity calculations, falls and venting arrangements). | MEPH Specifications Mechanical & Public Health Designs | 0.5.1 - Mechanical Specification 3.3.2 - Above Ground Drainage Layouts | - | - | - | 0.5.1 - Mechanical Specification 3.3.2 - Above Ground Drainage Layouts | -
| Provide above ground surface water details and layouts (including pipe and gutter capacity calculations and sizes). | MEPH Specifications Below Ground Drainage and Services Mechanical & Public Health Designs | 0.5.1 - Mechanical Specification 1.4.1 - Foul and Surface Water - General Arrangement Layouts 3.3.2 - Above Ground Drainage Layouts | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations | - | - | 0.5.1 - Mechanical Specification 1.4.1 - Foul and Surface Water - General Arrangement Layouts 3.3.2 - Above Ground Drainage Layouts | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations
| Provide below ground surface water layouts, details and capacity calculations (including pipe sizes, falls, surround and connection details to sewer/soak away). | Below Ground Drainage and Services | 1.4.1 - Foul and Surface Water - General Arrangement Layouts 1.4.2 - Exceedance Flow Rates 1.4.3 - Manhole Schedule 1.4.4 - Manhole Drawings and Connection Details 1.4.5 - Below Ground Construction Details | - | - | - | 1.4.1 - Foul and Surface Water - General Arrangement Layouts 1.4.2 - Exceedance Flow Rates 1.4.3 - Manhole Schedule 1.4.4 - Manhole Drawings and Connection Details 1.4.5 - Below Ground Construction Details | -
| Detail drainage provisions to paved areas around the building, this should include provision to deal with contaminated run off e.g. petrol interceptors. | Specification Landscaping External Levels | 0.4.5 - External landscaping specification 4.1.1 - Hard Landscaping General Arrangement Plans 4.1.2 - Landscaping Details 1.1.2 - External levels layouts | - | - | - | 0.4.5 - External landscaping specification 4.1.1 - Hard Landscaping General Arrangement Plans 4.1.2 - Landscaping Details 1.1.2 - External levels layouts | -
| Provide refuse storage layout and disposal / collection strategy. Refuse storage should be provided with wash down facilities and connect to the foul drainage system. | Architectural Reports Plans, sections & elevations | 0.4.12 - Waste Strategy 2.1.1 - Architectural Plans, Sections and Elevations illustrating waste travel distances | - | - | - | 0.4.12 - Waste Strategy 2.1.1 - Architectural Plans, Sections and Elevations | -
PART J - COMBUSTION APPLIANCES AND FUEL STORAGE SYSTEMS
J1. Combustion appliances shall be so installed that there is an adequate supply of air to them for combustion, to prevent over-heating and for the efficient working of any flue Discharge of products of combustion J2. Combustion appliances shall have adequate provision for the discharge of products of combustion to the outside air. Warning of release of carbon monoxide J3. Where a combustion appliance is provided, appropriate provision having regard to the design and location of the appliance shall be made to detect and give early warning of the release of carbon monoxide at levels harmful to persons. Protection of building J4. Combustion appliances and flue-pipes shall be so installed, and fireplaces and chimneys shall be so constructed and installed, as to reduce to a reasonable level the risk of people suffering burns or the building catching fire in consequence of their use. Provision of information J5. Where a hearth, fireplace, flue or chimney is provided or extended, a durable notice containing information on the performance capabilities of the hearth, fireplace, flue or chimney shall be affixed in a suitable place in the building for the purpose of enabling combustion appliances to be safely installed. | Provide details of heating to the flats (both space and water heating) including any boiler installations etc. | MEPH Reports Mechanical & Public Health Designs | 0.5.1 - Mechanical Specification 3.3.1 - Typical Mechanical Apartment Layouts 3.3.12 - Heating Distribution Schematic | - | 3.3.1 - Full pack of Mechanical Apartment Layouts | 3.3.15.1 - Specialist Heat Pump - General Arrangement Layouts 3.3.15.2 - Specialist Heat Pump - Specifications 3.3.15.3 - Specialist Heat Pump - Calculations | 0.5.1 - Mechanical Specification 3.3.1 - Mechanical Apartment Layouts 3.3.12 - Heating Distribution Schematic | 3.3.15.1 - Specialist Heat Pump - General Arrangement Layouts 3.3.15.2 - Specialist Heat Pump - Specifications 3.3.15.3 - Specialist Heat Pump - Calculations 3.3.15.4 - Specialist Heat Pump - Commissioning 3.3.15.5 - Specialist Heat Pump - O&M
PART K - PROTECTION FROM FALLING, COLLISION AND IMPACT
K1. Stairs, ladders and ramps shall be so designed, constructed and installed as to be safe for people moving between different levels in or about the building. K2. The following shall be provided with barriers where it is necessary to protect people in or about the building from falling (a) any stairs, ramps, floors and balconies and any roof to which people have access, and (b) any light well, basement area or similar sunken area connected to a building Vehicle barriers and loading bays K3.—(1) Vehicle ramps and any levels in a building to which vehicles have access, shall be provided with barriers where it is necessary to protect people in or about the building. (2) Vehicle loading bays shall be constructed in such a way, or to be provided with such features, as may be necessary to protect people in them from collision with vehicles. Protection against impact with glazing K4. Glazing, with which people are likely to come into contact while moving in or about the building, shall— (a) if broken on impact, break in a way which is unlikely to cause injury; or (b) resist impact without breaking; or (c) be shielded or protected from impact. Protection from collision with open windows etc. K5.1. Provision shall be made to prevent people from moving in or about the building from colliding with open windows, skylights or ventilators. Manifestation of glazing K5.2. Transparent glazing with which people are likely to come into contact while moving in and about the building, shall incorporate features which make it apparent. K5.3. Windows, skylights and ventilators which can be opened by people in or about the building shall be so constructed or equipped that they maybe opened, closed or adjusted safely. Safe access for cleaning windows etc. K5.4. Provision shall be made for any windows, skylights or translucent walls, ceilings or roofs to be safely accessible for cleaning Protection against impact from trapping by doors K6.—(1) Provision shall be made to prevent any door or gate— (a) which slides or opens upwards, from falling onto any person; and (b) which is powered, from trapping any person. (2) Provision shall be made for powered doors and gates to be opened in the event of a power failure. (3) Provision shall be made to ensure a clear view of the space on either side of a swing door or gate. | Provide stair details (including rise, going, hand rails, guarding, head height and contrasting nosing's). | Specification Stairs and Balustrades Internal Wall, Floor and Ceiling | 0.4.4 - Communal area specification 2.6.1 - Staircore GA, Section and Details 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans | - | - | - | 0.4.4 - Communal area specification 2.6.1 - Staircore GA, section and details 2.14.1 - Internal wall type drawings 2.14.6 - Internal ceiling type drawings | -
| Provide details of ramps in and around the building including gradients, landings, handrail provision. | Specification Landscaping External levels layout | 0.4.5 - External landscaping specification 4.1.1 - Hard Landscaping General Arrangement Plans 1.1.2 - Proposed levels | - | - | - | 0.4.5 - External landscaping specification 4.1.1 - Hard Landscaping General Arrangement Plans 1.1.2 - Proposed levels | -
| Provide details of guarding to stairs, ramps balconies & windows. | Stairs and Balustrades Communal Wall & Ceiling Finishes | 2.6.1 - Staircore GA, Section and Details 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans | - | - | - | 2.6.1 - Staircore GA, Section and Details 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans | -
| Provide details of safety glazing to screens, doors and windows. | Architectural Specification External Windows External Doors & Louvres | 0.4.1 - General construction specification (NBS) 2.12.4 - Privacy screens typical drawings and interface details including loading and fixing requirements 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling | - | - | 2.13.3.1 - Specialist External Door - Details 2.13.3.2 - Specialist External Door - Specifications 2.13.3.3 - Specialist External Door - Certification | 0.4.1 - General Construction Specification 2.12.4 - Privacy screens typical drawings and interface details including loading and fixing requirements 2.13.1 - External door & louvre schedule | 2.13.2 - External access door - contractor design information - typical details, spec and certs
| Provide window cleaning access/strategy statement. | Façade Reports | 0.3.2 - Access & Maintenance Strategy | 2.4.1.1 - Specialist Roof Access - Abseil General Arrangement Layouts 2.4.1.2 - Specialist Roof Access - Abseil Specifications 2.4.1.3 - Specialist Roof Access - Abseil Calculations 2.4.2.1 - Specialist Roof Access - Fall Restraint General Arrangement Layouts 2.4.2.2 - Specialist Roof Access - Fall Restraint Specification 2.4.2.3 - Specialist Roof Access - Fall Restraint Calculations 2.5.2.1 - Specialist Roof Hatch - General Arrangement 2.5.2.2 - Specialist Roof Hatch - Specification 2.5.2.3 - Specialist Roof Hatch - Calculations | - | - | 0.3.2 - Access & Maintenance Strategy | 2.4.1.1 - Specialist Roof Access - Abseil General Arrangement Layouts 2.4.1.2 - Specialist Roof Access - Abseil Specifications 2.4.1.3 - Specialist Roof Access - Abseil Calculations 2.4.2.1 - Specialist Roof Access - Fall Restraint General Arrangement Layouts 2.4.2.2 - Specialist Roof Access - Fall Restraint Specification 2.4.2.3 - Specialist Roof Access - Fall Restraint Calculations 2.4.2.4 - Specialist Roof Access - Fall Restraint Test Certificates 2.4.125 - Specialist Roof Access - Fall Restraint O&M
| Provide manifestation to any glazed screens and door details (two levels) where the floor level each side are the same. | Architectural Specification External Doors & Louvres | 0.4.1 - General Construction Specification 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling | 2.13.2 - External access door - contractor design information - typical details, spec and certs | - | 2.13.3.1 - Specialist External Door - General Arrangement 2.13.3.2 - Specialist External Door - Details 2.13.3.3 - Specialist External Door - Specifications 2.13.3.4 - Specialist External Door - Certification | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling | 2.13.3.1 - Specialist External Door - General Arrangement 2.13.3.2 - Specialist External Door - Details 2.13.3.3 - Specialist External Door - Specifications 2.13.3.4 - Specialist External Door - Certification
| Provide details of protection against impact from and trapping by doors, e.g. vision panels and guarding of door openings. | Stairs and Balustrades | 2.6.1 - Staircore GA, Section and Details | - | - | - | 2.6.1 - Staircore GA, Section and Details | -
PART L - CONSERVATION OF FUEL AND POWER
L1. Reasonable provision shall be made for the conservation of fuel and power in buildings by— (a) limiting heat gains and loses— (in) through thermal elements and other parts of the building fabric; and (ii) from pipes, ducts and vessels used for space heating, space cooling and hot water services; (b) providing fixed building services which— (i) are energy efficient (ii) have effective controls; and (iii) are commissioned by testing and adjusting as necessary to ensure they use no more fuel and power than is reasonable in the circumstances. Where a system for on-site electricity generation is installed:- (a) reasonable provision must be made to ensure that— appropriately sized for the site and available infrastructure; (ii) the system has effective controls; and (b) it must be commissioned by testing and adjusting as necessary to ensure that it produces the maximum electricity that is reasonable in the circumstances.] | Provide PEA Calculation for each of the flats (including a summary of assumed U-values). | SAP/Part L Compliance | 3.1.1 - SAP Compliance Report 3.1.2 - PEA's 3.1.3 - U-Value Calculations 3.1.4 - Thermal Bridging Calculations Report | - | - | - | 3.1.1 - SAP Compliance Report 3.1.3 - U-Value Calculations 3.1.4 - Thermal Bridging Calculations Report 3.1.5 - EPC's | -
| Design SBEM calculations and EPCs should be provided to the commercial shells at ground floor. | SAP/Part L Compliance | 3.1.6 - SBEM | - | - | - | 3.1.6 - SBEM | -
| Provide manufacturers calculations for envelope U-values for walls, floors, roof, windows and doors. | SAP/Part L Compliance | 3.1.3 - U-Value Calculations | - | - | - | 3.1.3 - U-Value Calculations | -
| Provide lighting layouts including lighting control locations. | MEPH Specifications Electrical Designs | 0.5.2 - Electrical Specification 3.2.1 - Typical Electrical Apartment Layouts | - | 3.2.1 - Full Pack of Electrical Apartment Layouts | - | 0.5.2 - Electrical Specification 3.2.1 - Electrical Apartment Layouts | -
| Provide heating and cooling layouts, specification and details. | MEPH Specifications Energy Mechanical & Public Health Designs | 0.5.1 - Mechanical Specification 3.3.1 - Typical Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - Typical Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Outline Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations | 3.3.1 - Full Pack of Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.19 - Commissioning Strategy 3.3.20 - Home User Guide | 0.5.1 - Mechanical Specification 3.3.1 - Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.13.4 - Specialist Ventilation - Commissioning 3.3.13.5 - Specialist Ventilation - O&M
| Provide details of automatic energy metering to each flat. | MEPH Specifications | 0.5.1 - Mechanical Specification | - | - | - | 0.5.1 - Mechanical Specification | -
| Provide details that show how cold bridging and air leakage will be limited to the building. | Façade Specification | 0.3.1 - Façade Specification 2.8.2 - External Wall Details 3.1.4 - Thermal Bridging Calculations Report | - | - | - | 0.3.1 - Façade Specification 2.8.2 - External Wall Details 3.1.4 - Thermal Bridging Calculations Report | -
PART M - ACCESS TO AND USE OF BUILDINGS
Access and use M1. Reasonable provision shall be made for people to— (a) gain access to, and (b) use the building and its facilities. Access to extensions to buildings other than dwellings M2. Suitable independent access shall be provided to the extension where reasonably practicable. Sanitary conveniences in extensions to buildings other than dwellings M3. If sanitary conveniences are provided in any building that is to be extended, reasonable provision shall be made within the extension for sanitary conveniences Sanitary conveniences in dwellings M4.—(1) Reasonable provision shall be made in the entrance storey for sanitary conveniences, or where the entrance storey contains no habitable rooms, reasonable provision for sanitary conveniences shall be made in either the entrance storey or principal storey. (2) In this paragraph “entrance storey” means the storey which contains the principal entrance and “principal storey” means the storey nearest to the entrance storey which contains a habitable room, or if there are two such storeys equally near, either such storey.] | Provide access strategy for the building (including justification for any departures from Part M standard). This should include any planning requirements for adaptable or fully accessible flats. | Architectural Strategy | 0.4.7 - Part M Access Strategy | - | - | - | 0.4.7 - Part M Access Strategy | -
| Provide full dimensioned layout of the M4(1) Flats | Plans, sections & elevations Bathroom kitchen | 2.1.6 - M4(2) Compliant Apartment Layout 2.16.1 - M4(2) Typical Bathroom Plans and Elevations | - | - | 2.17.1 - M4(1) - Kitchen Manufacturer's Design Information - Full Pack of Drawings & Specifications | 2.1.6 - M4(1) Compliant Apartment Layout 2.16.1 - M4(1) Bathroom Plans and Elevations | 2.17.1 - M4(1) Kitchen - Contractor Design Information - Kitchen Types Designs, Spec and Certs
| Provide full dimensioned layout of the M4(2) Category 2: Accessible and Adaptable Flats | Plans, sections & elevations Bathroom kitchen | 2.1.7 - M4(2) Compliant Apartment Layout 2.16.2 - M4(2) Typical Bathroom Plans and Elevations | - | - | 2.17.2 - M4(2) - Kitchen Manufacturer's Design Information - Full Pack of Drawings & Specifications | 2.1.7 - M4(2) Compliant Apartment Layout 2.16.2 - M4(2) Bathroom Plans and Elevations | 2.17.2 - M4(2) Kitchen - Contractor Design Information - Kitchen Types Designs, Spec and Certs
| Provide full dimensioned layout of the M4(3) Category 3: Wheelchair User Flats | Plans, sections & elevations Bathroom kitchen | 2.1.8 - M4(3) Compliant Apartment Layout 2.16.3 - M4(3) Typical Bathroom Plans and Elevations | - | - | 2.17.3 - M4(3) - Kitchen Manufacturers Design Information - Full Pack of Drawings & Specifications | 2.1.8 - M4(3) Compliant Apartment Layout 2.16.3 - M4(3) Bathroom Plans and Elevations | 2.17.3 - M4(3) - Kitchen - Contractor Design Information - Kitchen Types Designs, Spec and Certs
| Provide details of disabled car parking location, external access routes, external layouts, and external ramps/stair details. | Specification Landscaping External levels layout | 0.4.5 - External Landscaping Specification 4.1.1 - Hard Landscaping General Arrangement Plans 1.1.2 - Proposed Levels | - | - | - | 0.4.5 - External Landscaping Specification 4.1.1 - Hard Landscaping General Arrangement Plans 1.1.2 - Proposed Levels | -
| Provide details of front entrance, mat well and entrance screen. | Finishes to floors | 2.14.7 - Floor Type Drawings | - | - | - | 2.14.7 - Floor Type Drawings | -
| Provide details of reception desk (at wheelchair accessible height) if a concierge is provided. | Plans, sections and elevations | 2.1.1 - Architectural Plans, Sections and Elevations | - | - | - | 2.1.1 - Architectural Plans, Sections and Elevations | -
| Provide lift layout and details (including size, internal finish, height of controls and turning circle). | Plans, sections and elevations Lifts | 2.1.1 - Architectural Plans, Sections and Elevations 2.7.1 Lift - consultant typical details | 2.7.2.1 - Lift - General Arrangement Layouts 2.7.2.2 - Lift - Typical Details 2.7.2.3 - Lift - Specifications | - | 2.7.2.2 - Lift - Full Pack of Details | 2.7.1 - Lift - Typical Details 3.3.3 - Mechanical Services Layouts | 2.7.2.1 - Lift - General Arrangement Layouts 2.7.2.2 - Lift - Details 2.7.2.3 - Lift - Specifications 2.7.3.4 - Lift - Commissioning 2.7.3.5 - Lift - O&M
| Provide layout and details of corridor widths and doors (including vision panel locations). | Plans, sections & elevations Internal Doors | 2.1.1 - Architectural Plans, Sections and Elevations 2.15.1 - Internal Door Schedules 2.15.2 - Internal Door Typical Details | 2.15.3.1 - Internal Fire Door Manufacturer - Typical Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification | 2.15.2 - Full Pack of Internal Door Details | 2.15.3.1 - Internal Fire Door Manufacturer - Full Pack of Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification | 2.15.1 - Internal Door Schedule 2.15.2 - Internal Door Details | 2.15.3.1 - Internal Fire Door Manufacturer - Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification
| Provide colour contrasting details to doors/frame and walls and handrails and compliance with door widths etc. to the common areas. | Architectural Specifications Communal Wall & Ceiling Finishes | 0.4.4 - Communal Area Specification 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans | - | - | - | 0.4.4 - Communal Area Specification 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans | -
| Provide switch/socket heights specification for all flats and common areas. | MEPH Specifications Electrical Designs | 0.5.2 - Electrical Specification 3.2.12 - Fire alarm schematics | 3.2.14.1 - Fire Alarm Specialist - General Arrangement Layouts 3.2.14.2- Fire Alarm Specialist - Specifications 3.2.14.3 - Fire Alarm Specialist - Certification 3.2.14.4 - Fire Alarm Specialist - Typical Evacuation Alarm Sound Levels Layouts | - | - | 0.5.2 - Electrical Specification 3.2.12 - Fire alarm schematics | 3-2-14-1 - Fire Alarm Specialist - General Arrangement Layouts 3-2-14-2- Fire Alarm Specialist - Specifications 3-2-14-3 - Fire Alarm Specialist - Certification 3-2-14-4 - Fire Alarm Specialist - Evacuation Alarm Sound Levels Layouts 3-2-14-5 - Fire Alarm Specialist - Commissioning 3-2-14-6 - Fire Alarm Specialist - O&M
PART O - OVERHEATING
Overheating mitigation O1 (1) Reasonable provision must be made in respect of a dwelling, institution or any other building containing one or more rooms for residential purposes, other than a room in a hotel (“residences”) to— (a) limit unwanted solar gains in summer; (b) provide an adequate means to remove heat from the indoor environment. (2) In meeting the obligations in paragraph (1) (a) account must be taken of the safety of any occupant, and their reasonable enjoyment of the residence; and (b) mechanical cooling may only be used where insufficient heat is capable of being removed from the indoor environment without it. | Please provide details on how the building will be designed to: - Limit unwanted solar gain - Provide adequate means of removing excess heat in the indoor environment | Architectural Specification MEPH Specifications External Windows Mechanical & Public Health Designs | 0.5.1 - Mechanical Specification 0.5.3 - Overheating Report 2.12.1 - Window Schedule 2.12.2 - Typical Window Details 3.3.1 - Typical Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - Typical Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Outline Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations | 3.3.1 - Full Pack of Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations | 0.5.1 - Mechanical Specification 0.5.3 - Overheating Report 2.12.1 - Window Schedule 2.12.2 - Full Pack Window Details 3.3.1 - Mechanical Apartment Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.13.4 - Specialist Ventilation - Commissioning 3.3.13.5 - Specialist Ventilation - O&M
PART P - ELECTRICAL SAFETY (DWELLINGS)
Design and installation P1. Reasonable provision shall be made in the design and installation of electrical installations in order to protect persons operating, maintaining or altering the installations from fire or injury. | Confirm the electrical installation has been designed and will be installed in accordance with BS7671:2008 incorporating Amendment No 1:2011. | MEPH Specifications | 0.5.2 - Electrical Specification |  | - | - | 0.5.2 - Electrical Specification | -
PART Q - SECURITY (DWELLINGS)
Unauthorised access Q1 - Reasonable provision must be made to resist unauthorised access to:- (a) any dwelling; and (b) any part of a building from which access can be gained to a flat within the building. | Confirm all easily accessible door sets are designed as secure door sets in accordance with PAS24:2012. | Plans, Sections & Elevations Internal Doors | 2.1.1 - Architectural Plans, Sections & Elevations 2.15.1 - Internal Door Schedules 2.15.2 - Internal Door Typical Details | 2.15.3.1 - Internal Fire Door Manufacturer - Typical Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification | - | 2.15.3.1 - Internal Fire Door Manufacturer - Full Pack of Details | 2.1.1 - Architectural Plans, Sections & Elevations 2.15.1 - Internal Door Schedules 2.15.2 - Internal Door Details | 2.15.3.1 - Internal Fire Door Manufacturer - Details 2.15.3.2 - Internal Fire Door Manufacturer - Specification 2.15.3.3 - Internal Fire Door Manufacturer - Contractor Installation Records 2.15.3.4 - Internal Fire Door Manufacturer - FIRAS/IFC Certificates
| Confirm basement, ground floor and other easily accessible windows have been designed as secure windows in accordance with PAS24:2012. | External Doors & Louvres | 2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling |  | - | 2.13.3.1 - Specialist External Door - Details 2.13.3.2 - Specialist External Door - Specifications 2.13.3.3 - Specialist External Door - Certification | 2.13.1 - External door and louvre schedule | -
PART R - HIGH SPEED ELECTRONIC COMMUNICATIONS NETWORKS
Gigabit-ready physical infrastructure RA1.—(1) Building work must be carried out so as to ensure that each dwelling is equipped with gigabit-ready physical infrastructure that extends from a network termination point for gigabit-capable public electronic communications networks and reaches— (a) a distribution point, or (b) where the person carrying out the building work (“the developer”) has no right to install gigabit-ready physical infrastructure in land in which it would have to be installed if it were to reach a distribution point, as close as is reasonably practicable to a distribution point, or (c) where the developer has no such right and requirement RA2 is excluded or modified by regulation 44ZC, and would be so excluded or modified even if the gigabit-ready physical infrastructure were required to reach as close as is reasonably practicable to a distribution point— (i) as close as is reasonably practicable to allocation at which a distribution point is likely to be installed within the relevant 2-yearperiod (a “likely future location”), or (ii) where there is no likely future location that is closer to the building than the closest distribution point already installed, an access point for gigabit-capable public electronic communications networks, or (d) where the developer has no right to install gigabit-ready physical infrastructure in land beyond the building, an access point for gigabit-capable public electronic communications networks. (2) Where the work concerns a building containing more than one dwelling, the work must be carried out so as to ensure that the building is equipped in addition with a common access point for gigabit-capable public electronic communications networks. (3) In this paragraph— “distribution point” means a distribution point for a gigabit-capable public electronic communications network; “the relevant 2-year period” means the period of 2 years beginning with the earlier of the following— (a) the day on which a building notice, initial notice or public body’s notice relating to work to which this paragraph applies is given; (b) the day on which [F393an application for building control approval with full plans relating to building work to which this paragraph applies is given]. Connection to gigabit-capable network RA2. Each dwelling must in addition be provided with a connection to a gigabit-capable public electronic communications network. R1 (1) Building work must be carried out so as to ensure that the building is equipped with a high-speed ready in-building physical infrastructure, up to a network termination point for high-speed electronic communications networks. (2) Where the work concerns a building containing more than one dwelling, the work must be carried out so as ensure that the building is equipped in addition with a common access point for high-speed electronic communications networks. | Please confirm in-building physical infrastructure will be provided from the service providers access point to the occupiers network termination point in accordance with Approved Document R and PAS 2016. | MEPH Specifications Electrical Designs | 0.5.2 - Electrical Specification 3.2.11 - Communication and Data Schematic 3.2.2 - Containment layout |  | - | - | 0.5.2 - Electrical Specification 3.2.11 - Communication and Data Schematic 3.2.2 - Containment layout | -
| Gigabit ready physical infrastructure is to be provided from the service providers access point to the occupiers network termination point, in accordance with Approved Document R Vol1 2022. | MEPH Specifications Electrical Designs | 0.5.2 - Electrical Specification 3.2.1 - Electrical Apartment Layouts 3.2.11 - Communication and Data Schematic |  | - | - | 0.5.2 - Electrical Specification 3.2.1 - Electrical Apartment Layouts 3.2.11 - Communication and Data Schematic | -
PART S - INFRASTRUCTURE FOR CHARGING ELECTRIC VEHICLES
The erection of new residential buildings S1 (1) A new residential building with associated parking must have access to electric vehicle charge points as provided for in paragraph (2). (2) The number of associated parking spaces which have access to electric vehicle charge points must be— (a) the total number of associated parking spaces, where there are fewer associated parking spaces than there are dwellings contained in the residential building; or (b) the number of associated parking spaces that is equal to the total number of dwellings contained in the residential building, where there are the same number of associated parking spaces as, or more associated parking spaces than, there are dwellings. (3) Cable routes for electric vehicle charge points must be installed in any associated parking spaces which do not, in accordance with paragraph (2), have an electric vehicle charge point where— (a) a new residential building has more than 10 associated parking spaces; and (b) there are more associated parking spaces than there are dwellings contained in the residential building. Dwellings resulting from a material change of use S2 Where one or more dwellings with associated parking result from a building, or a part of a building, undergoing a material change of use at least one associated parking space for the use of each such dwelling must have access to an electric vehicle charge point. Residential buildings undergoing major renovation S3 Where a residential building undergoing major renovation will have more than 10 associated parking spaces after the major renovation is completed (a) at least one associated parking space for the use of each dwelling must have access to an electric vehicle charge point; (b) cable routes for electric vehicle charge points must be installed in all additional associated parking spaces. Erection of new buildings which are not residential buildings or mixed-use buildings S4 Where a new building which is not a residential building or a mixed-use building has more than 10 parking spaces— (a) one of those parking spaces must have access to one electric vehicle charge point; and (b) cable routes for electric vehicle charge points must be installed in a minimum of one fifth of the total number of remaining parking spaces. Buildings undergoing major renovation which are not residential buildings or mixed-use buildings S5 Where a building undergoing major renovation, which is not a residential building or a mixed-use building, will have more than 10 parking spaces after the major renovation is completed— (a) one of those parking spaces must have access to one electric vehicle charge point; and (b) cable routes for electric vehicle charge points must be installed in a minimum of one fifth of the total number of remaining parking spaces. | Please provide details on the electrical charging points to the car park of the building in accordance with Approved Document S - S1 New Residential Buildings | MEPH Specifications Electrical Designs | 0.5.2 - Electrical Specification 3.2.2 - Containment Layout |  | - | - | 0.5.2 - Electrical Specification 3.2.2 - Containment Layout | -
PART T - TOILETS
Guidance Note: 04 - Annex 4A
Version: 2.0
Published: 27/01/26

## Combined - Latest (hidden)
c
REG. 38 DOC TRACKER W1 + W2 + Basement & Amenities
Prepared by: Rhea Guo
2026-01-27
Provided
Awaiting Response
N/A
Requirement | W1 Status | W2S Status | W2N Status | LG&AMENITY Status |  | Proposed Evidence | Comments
PART 4. Passive Fire Safety Measures
4.1 General Fire Information | Provided | Provided | Provided | Provided | 1 | Fire strategy elevations
| Provided | Provided | Provided | Provided | 2 | Fire strategy plans
| Provided | Provided | Provided | Provided | 3 | OFR fire strategy
4.2 Internal Fire Spread - Wall & Ceiling linings | Provided | Provided | Provided | Provided | 1 | MDS detail - Letter box
| Provided | Provided | Provided | Provided | 2 | FJC detail - Door jambs
| Provided | Provided | Provided | Provided | 3 | Tradeline details pack
4.3 Internal Fire Spread (Structure) - Compartmentation - i.e, location of fire separating elements | Provided | Provided | Provided | Provided | 1 | OFR fire strategy
| Provided | Provided | Provided | Provided | 2 | MDS fire strategy plans
| Provided | Provided | Provided | Provided | 3 | Wall type plans
| Provided | Provided | Provided | Provided | 4 | Wall details/sections
| Provided | Provided | Provided | Provided | 5 | Wall type spec - K10 FOR drylining/96 series reports
4.4 External Fire Spread (external walls & balconies) | Provided | Provided | Provided | Provided | 1 | Wall type drawings
| Provided | Provided | Provided | Provided | 2 | External wall specifications/Fire risk assessment
4.5 Provision of Cavity Barriers | Provided | Provided | Provided | Provided | 1 | Fire strategy elevations
| Provided | Provided | Provided | Provided | 2 | Fire strategy plans
| Provided | Provided | Provided | Provided | 3 | Siderise tech sheets & installation instructions
| Provided | Provided | Provided | Provided | 4 | Product Certificate
| Provided | Provided | Provided | Provided | 5 | QA reports
| Provided | Provided | Provided | Provided | 6 | Site inspection Reports
| Provided | Provided | Provided | Provided | 7 | Evidence of competency & training
4.6 EWS1 Form | Not submitting to BC | Not submitting to BC | Not submitting to BC | Not submitting to BC | 1 | OFR to produce & supply | Not a regulatory requirement of Fire Safety Regulations England
4.7 Fire Stopping (Communal Areas) | Provided | Provided | Provided | Provided | 1 | Fire stopping data sheets
| Provided | Provided | Provided | Provided | 2 | Fire stopping QA/Test Evidence
| Provided | Provided | Provided | Provided | 3 | Fire stopping installation certificates
| Provided | Provided | Provided | Provided | 4 | Evidence of competency
| Provided | Provided | Provided | Provided | 5 | O&M
4.8 Fire Stopping (Flats) | Provided | Provided | Provided | N/A | 1 | Fire stopping data sheets
| Provided | Provided | Provided | N/A | 2 | Fire stopping QA/Test Evidence
| Provided | Provided | Provided | N/A | 3 | Fire stopping installation certificates
| Provided | Provided | Provided | N/A | 4 | Evidence of competency
| Provided | Provided | Provided | N/A | 5 | O&M
4.9.1 Communal fire doors and other doors equipped with relevant hardware (e.g., electronic security locks). | Provided | Provided | Provided | Provided | 1 | FJC installation drawings
| Provided | Provided | Provided | Provided | 2 | Selo riser door drawings & installation information/test data
| Provided | Provided | Provided | Provided | 3 | Fire door schedule
| Provided | Provided | Provided | Provided | 4 | Certificate
| Provided | Provided | Provided | Provided | 5 | Installation details & information
| Provided | Provided | Provided | Provided | 6 | Evidence of competency
| Provided | Provided | Provided | Provided | 7 | O&M
| N/A | N/A | N/A | Provided | 8 | External door tech sub & schedule
4.9.2 Flat Entrance Doors | Provided | Provided | Provided | N/A | 1 | FJC installation drawings
| Provided | Provided | Provided | N/A | 2 | Fire door schedule
| Provided | Provided | Provided | N/A | 3 | Certificate
| Provided | Provided | Provided | N/A | 4 | Installation details & information
| Provided | Provided | Provided | N/A | 5 | Evidence of competency
| Provided | Provided | Provided | N/A | 6 | O&M
4.9.3 Internal Flat Doors (Not Fire Rated) | Provided | Provided | Provided | N/A | 1 | FJC installation drawings
| Provided | Provided | Provided | N/A | 2 | Fire door schedule
| Provided | Provided | Provided | N/A | 3 | O&M
4.10 Fire Safety Signage | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | Product data sheets
| Provided | Provided | Provided | Provided | 3 | Commissioning certificates
4.11 Other exterior facilities for the fire and rescue services | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | Fire strategy document
PART 5. Active Fire Safety Measures
5.1 Smoke-control system design, including mode of operation and control systems. | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | ARK mechanical layouts
| Provided | Provided | Provided | Provided | 3 | FDS tech data sheets & specs
| Provided | Provided | Provided | Provided | 4 | Cause & effect ARK
| Provided | Provided | Provided | Provided | 5 | Commissioning certificates
| Provided | Provided | Provided | Provided | 6 | Evidence of competency
| Provided | Provided | Provided | Provided | 7 | O&M
5.2 Duct dampers (Fire & Smoke Dampers) | Provided | Provided | Provided | Provided | 1 | ARK mechanical layouts
| Provided | Provided | Provided | Provided | 2 | Tech data sheets & specs
| Provided | Provided | Provided | Provided | 3 | Product Certificates
| Provided | Provided | Provided | Provided | 4 | Commissioning certificates
| Provided | Provided | Provided | Provided | 5 | Evidence of competency
| Provided | Provided | Provided | Provided | 6 | O&M
5.3 Dry/Wet Riser | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | ARK public health layouts
| Provided | Provided | Provided | Provided | 3 | Select fire tech data sheets & specs
| Provided | Provided | Provided | Provided | 4 | Commissioning certificates
| Provided | Provided | Provided | Provided | 5 | O&M
5.4 Emergency lighting | Provided | Provided | Provided | Provided | 1 | ARK emergency lighting layouts
| Provided | Provided | Provided | Provided | 2 | Tech data sheets & specs
| Provided | Provided | Provided | Provided | 3 | Commissioning certificates
| Provided | Provided | Provided | Provided | 4 | O&M
5.5 Emergency Communication Systems | N/A | N/A | N/A | N/A | 1 | Not used in W1&W2
5.6 Fire shutters | N/A | N/A | N/A | N/A | 1 | None installed
5.7 Emergency Control Rooms | Provided | Provided | Provided | Provided | 1 | Plant Room Location
| Provided | Provided | Provided | Provided | 2 | O&M
5.8 Location of hydrants outside the building | Provided | Provided | Provided | Provided | 1 | Fire strategy - OFR Doc
| Argent | Argent | Argent | Argent | 2 | Ownership details - Argent?
| Argent | Argent | Argent | Argent | 3 | Commissiong of hydrant
| Argent | Argent | Argent | Argent | 4 | O&M
5.9 Automatic fire suppression systems design, including isolating valves and control equipments Fire Sprinkler | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | A1 sprinklers installation drawings; Select Fire for Landlord area
| Provided | Provided | Provided | Provided | 3 | Tech data sheets & specs
| Provided | Provided | Provided | Provided | 4 | Commissioning certificates
| Provided | Provided | Provided | Provided | 5 | Evidence of competency
| Provided | Provided | Provided | Provided | 6 | O&M
5.10 Fire Detection System (Flats) Apartment Fire Alarms | Provided | Provided | Provided | N/A | 1 | ARK fire alarm plans
| Provided | Provided | Provided | N/A | 2 | Tech data sheets & specs
| Provided | Provided | Provided | N/A | 3 | Installation Certificates
| Provided | Provided | Provided | N/A | 4 | O&M
5.11 Fire Detection System (Communal) Communal Fire Alarms | Provided | Provided | Provided | Provided | 1 | Albion fire drawings
| Provided | Provided | Provided | Provided | 2 | Tech data sheets & specs
| Provided | Provided | Provided | Provided | 3 | Installation Certificates
| Provided | Provided | Provided | Provided | 4 | O&M
5.12 Evacuation alert systems | N/A | N/A | N/A | N/A | 1 | No evacuation alert system
5.13 Fire extinguishuers | N/A | N/A | N/A | N/A | 1 | No fire extinguishers - To be Provided by Management
5.14 Backup power UPS provision | Provided | Provided | Provided | Provided | 1 | Plant Room Location
| Provided | Provided | Provided | Provided | 2 | Life Safety & LV Distribution Schematic
| Provided | Provided | Provided | Provided | 3 | Tech data sheets & specs
| N/A | Provided | Provided | Provided | 4 | Generator commissioning, LV, Life Safety NICEIC Provided
| Provided | Provided | Provided | Provided | 5 | O&M
5.15 Part P Life Safety Certificates | Provided | Provided | Provided | Provided | 1 | Part P Life Safety Certificates
| Provided | Provided | Provided | Provided | 2 | NICEIC Electrical Certificates
PART 6. High Risk Areas
Any high risk areas (e.g., heating machinery) and particular hazards | Provided | Provided | Provided | Provided | 1 | Location plan of refuse room
| Provided | Provided | Provided | Provided | 2 | Main plant room location plan
| Provided | Provided | Provided | Provided | 3 | Cause & effect
PART 7. Disabled Provisions
Any provision incorporated into the building to facilatate the evacuation of disabled people. | N/A | N/A | N/A | N/A | 1 | No dedicated evacuation installations
PART 8. Pre-occupation Fire Safety Assessment
8.1 Conduct a preliminary or pre-occupation fire safety assessment Not relevant to Building Control | Orgin | Orgin | Orgin | Orgin | 1
8.2 Gateway 2 approval | N/A | N/A | N/A | N/A | 1
8.3 Completion Certificate approval | Midgard | Midgard | Midgard | Midgard | 1 | Building control final approval
| Argent | Argent | Argent | Argent | 2 | Argent registering with BSR
| Argent | Argent | Argent | Argent | 3 | Declaration
| N/A | N/A | N/A | N/A | 4 | Golden thread
PART 9. Other Details
9.1 Firefighter's / Evacuation Lift | Provided | Provided | Provided | Provided | 1 | Fire fighting lifts - OTIS tech data
| Provided | Provided | Provided | Provided | 2 | Installation Certificates
| Provided | Provided | Provided | Provided | 3 | O&M
9.2 Secure Information Box | Provided | Provided | Provided | Provided | 1 | Fire strategy plans
| Provided | Provided | Provided | Provided | 2 | Datasheets
9.3 Fire brigade drop key facility | N/A | N/A | N/A | N/A | 1
9.4 Any other details appropriate for the specific building, lightning protection, solar panels, CCTV system, door entry system, secondary power supply/UPS location etc. | Provided | W2 RC Cuttings Certs? | W2 RC Cuttings Certs? | N/A | 1 | Lightning Protection Info - RC CUTTINGS
| Provided | Provided | Provided | Provided | 2 | SCCI CCTV & Access Control Plan
| Provided | Provided | Provided | Provided | 3 | SCCI CCTV & Access Control Data Sheets
| Provided | Provided | Geze? SCCI AC Cert? | Provided | 4 | SCCI CCTV & Access Control Commissioning info
| Provided | Provided | Provided | Provided | 5 | O&M