## Overview
Overview
The purpose of this work, the Route to Competence (RtC) and Skills, Knowledge, Experience and Behaviour (SKEB) statements is to highlight the current standard and qualification landscape for Specialist Installation Occupations, Doors, Gate and Shutter installation, service, maintenance and repair. Through consultation with sector experts, this will help clarify, if there is, already in place, the necessary structure to train and qualify the workforce and maintain and monitor levels of competence. This framework is designed to pull together and encapsulate all training and assessment standards for Specialist Installation Occupations, Doors, Gate and Shutter installation, service, maintenance and repair. approved by the industry. For note this is planned to be part of an interactive programme designed to support chosen methods of training and assessment, in line with day to day working activity. Functional map: the current competencies required as agreed by industry. Generic Trade Competencies: are trade relevant generic competence statements identified by the working group. Behaviours: Demonstration of behaviours should form part of all competency assessment activity. Core Trade Competencies: defines the core competence functions identified in the functional map into Skills, Knowledge and Experience. Updates to this framework will be an iterative process in line with revised industry standards, legislation and consultation.

## FM current landscape
Functions |  | Powered Pedestrian Door System Installer and Service Technician |  |  | Non-powered Door Installer and Service Technician |  |  | Shutter and Roller Door Installer and Service Technician | [17 empty] | Re-validation
Automated Gate System Installer and Service Technician
Functional Map
Activities |  | Powered Pedestrian Door System Installer | Powered Pedestrian Door Service Technician | Powered Pedestrian Door Repair Technician | Manual Pedestrian Door System Installer | Manual Pedestrian Door Service Technician | Manual Pedestrian Door Repair Technician | Powered Shutter and Roller Door Installer | Powered Shutter and Roller Door Service Technician | Powered Shutter and Roller Door Repair Technician | Manual Shutter and Roller Door Installer | Manual Shutter and Roller Door Service Technician | Manual Shutter and Roller Door Repair Technician | Powered Gate System Installer | Powered Gate System Service Technician | Powered Gate System Repair Technician | Manual Gate System Installer | Manual Gate System Service Technician | Manual Gate System Repair Technician | Powered Barrier System Installer | Powered Barrier System Service Technician | Powered Barrier System Repair Technician | Manual Barrier System Installer | Manual Barrier System Service Technician | Manual Barrier System Repair Technician | Re-validation
CC-001 | Conform to general workplace health, safety and welfare | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
CC-002 | Conform to productive work practices | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
CC-003 | Move, handle or store resources | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
CTC-001 | Core Trade Competence | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
SIO- DGS-02 | Install door and gate systems | ✓ |  |  | ✓ | [8 empty] | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
SIO- DGS-03 | Install shutter systems | [6 empty] | ✓ |  |  | ✓
SIO- DGS-01 | Service and maintain or commission door, gate or shutter systems |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
SIO- DGS-04 | Dismantle and repair door, gate or shutter systems |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
COSVR 503 | Install, Service, Maintain or Repair door, blind or shutter wiring systems | ✓ | ✓ | ✓ |  |  |  | ✓ | ✓ | ✓ |  |  |  | ✓ | ✓ | ✓ |  |  |  | ✓ | ✓ | ✓
AOR-06 | Erect and dismantle access/working platforms | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
PLO-07 | Operate plant or machinery used as work platforms | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
CLFO-08 | Slinging and signalling the movement of suspended loads | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
SEMTA-01 | Using manual metal arc welding equipment *SEMPE01 15 | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A
SEMTA-02 | Using semi-automatic MIG or MAG welding equipment *SEMPE01 17 | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A | A

## CTC-001 Core Trade Comp
Core Trade Competence
Skills You must be able to: | Knowledge You must know and understand:
Interpret Information interpret the information relating to the work and resources to confirm its relevance for the following: · drawings · specifications · schedules · risk assessments · method statements · manufacturers’ information · electronic data | Interpret Information • why organisational procedures have been developed and how they are implemented • types of information, their source and how they are interpreted in relation to: drawings specifications schedules risk assessments method statements manufacturers’ information current legislation and regulations governing buildings • the importance of reporting and rectifying inappropriate information • the range of relevant digital services, tools and systems, and how they are used
Safe Work Practices | Safe Work Practices
Safe Work Practices comply with the relevant legislation and official guidance to carry out the work and maintain safe and healthy work practices relating to the following: • methods of work • safe use of health and safety control equipment • safe use of access equipment • safe use, storage and handling of materials, tools and equipment • specific risks to health • specific risks associated with asbestos containing materials | the types of fire extinguishers and how and when they are used in relation to water, CO2, foam, powder
how emergencies should be responded to in accordance with organisational authorisation and personal skills in relation to: • fires, spillages, injuries • emergencies relating to occupational activities • identification of and reporting of asbestos containing materials
the organisational security procedures for tools, equipment and personal belongings in relation to: • operative • site • workplace • vehicles • company • the general public
how to report risks and hazards identified by the following: · risk assessment · methods of work · manufacturers’ technical information · statutory regulations · official guidance
the accident and incident reporting procedures and who is responsible for making the report
why, when and how health and safety control equipment identified by the principles of prevention should be used in relation to: • collective protective measures • personal protective equipment (PPE) • respiratory protective equipment (RPE) • local exhaust ventilation (LEV)
how to comply with environmentally responsible work practices to meet current legislation and official guidance
the organisational procedure when dealing with potential accidents, health hazards and the environmental impact whilst working: • below ground level • in confined spaces • at height • with tools and equipment • with materials and substances • moving and storing materials by manual handling and mechanical lifting
information for relevant, current legislation and official guidance and how it is applied
Selection of Resources | Selection of Resources
Selection of Resources select the required quantity and quality of the following resources for the methods of work for: • materials • components and fixings • tools and equipment | how to identify the hazards associated with the resources and methods of work and how they are overcome
why the characteristics, quality, uses, sustainability, limitations and defects associated with the resources are important and how defects should be rectified
Minimise the Risk of Damage | Minimise the Risk of Damage
Minimise the Risk comply with organisational procedures to minimise the risk of damage to the work and surrounding area by: • protecting the work and its surrounding area from damage • maintaining a safe, clear and tidy work area • disposing of waste in accordance with current legislation | how to protect work and its surrounding area from damage and the purpose of protection from general workplace activities, other occupations and adverse weather conditions
how to minimise the damage to existing building fabric
why and how the disposal of waste must be carried out safely in accordance with the following: • environmental responsibilities • organisational procedures • manufacturers’ information • statutory regulations • official guidance
why it is important to maintain a safe, clear and tidy work area
Meet the contract specification | Meet the contract specification
the importance of mental health awareness and wellbeing
the importance of applying Fairness, Inclusion and Respect (FIR) when dealing with others
identify common trades, professions and roles in construction
Allocated time | Allocated time
Allocated Time complete the work in accordance with organisational procedures, the programme of work and to meet the needs of others and the client | the programme of work to be carried out including the estimated and allocated time and why deadlines should be kept
the estimated times and the organisational procedures for reporting circumstances which will affect the work programme
Continuous Development: | Continuous Development:
understand continuous development and the benefits of ongoing compliance and career progression. understand typical progression routes for the industry. typical qualification structures and routes to professional competency.
Equality, Diversity & Inclusion | Equality, Diversity & Inclusion
effectively communicate across diverse groups. | company policies and regulations related to EDI
recognising, valuing, appreciating and respecting the diversity of cultures, beliefs and practices that exist | appreciation of different cultural norms and values
lead by example and promoting an inclusive culture | the principles of inclusive and non bias workspaces and environments
work effectively in diverse teams to achieve goals and objectives
Net Zero | Net Zero
work efficiently and effectively with tools and materials to minimise waste, reducing, reusing and recycling materials where appropriate during projects | the need to reduce carbon emissions in the UK construction industry and their own company's net zero targets
the impact of carbon emissions in the Doors, Gates and Shutters industry recyclability and disposal options for packaging, electric and manual components.
how to work efficiently and effectively with materials to minimise waste
work on projects that focus on sustainability and energy efficiency | how to adhere to environmental and sustainability measures.
product relevant laws and regulations related to sustainability and energy use
the concept of energy-efficient technologies and practices
Digital Skills | Digital Skills
understand and act on digital information | different types of digital services available
protect sensitive digital information using secure methods | aware of the advantages of using digital tools
importance of identifying legitimate data sources
capture photographic evidence of work completed using hardware | how to follow ethical and legal standards and portal
compliance with BIM standards and digital construction best practices
effective communication and engagement with diverse teams, including engineers, contractors, clients, architects, and other professionals through digital technologies | emerging technologies such as 3D printing, augmented reality (AR), virtual reality (VR), and their applications in construction
data protection regulations (GDPR) and best practices for ensuring data security and privacy
Retro Fit | Retro Fit
explain the benefits of retrofit work | what is meant by ‘retrofit’
describe the basics of building physics and energy efficiency, including heat loss, ventilation and airtightness | UK building regulations and standards and other energy efficiency standards
describe the various properties and meanings of U-values related to thermal insulated industrial doors and shutters | how trades can be affected by retrofit practices, and the associated regulation and competence schemes
use best practice industry guidance to support effective retrofit installation | how retrofit benefits the environment, the current drivers, benefits, challenges and initiatives relating to retrofit
effective communication and engagement with diverse teams, including clients, contractors, engineers, architects, and other professionals involved in retrofit operations | the roles required for execution of a retrofit project
how to simplify industry terminology and technical information into terms that are understandable and accessible
the importance of ensuring that work is undertaken by appropriately qualified and competent practitioners
identify project-specific challenges or problems
understand the various properties and meanings of U-values related to thermal insulated industrial doors and shutters

## Behaviours
Behaviours You must be able to demonstrate:
Personal responsibility: • Proactively seek feedback on own performance. • Proactively identify areas for personal development, seek out and participate in training opportunities. • Maintain a record of learning and CPD.
Teamwork and Communication. • Recognise and action fairness, inclusion, and respect. • Support colleague's development by fostering a culture of continuous learning. • Be prepared to share expertise with colleagues when completing tasks. • Identify and provide constructive feedback on processes, equipment, and procedures. • Reflect and review on working practices that worked well or could be improved • Effectively communicate, actively listen to, and work collaboratively with colleagues and clients using a variety of methods.
Safe working environment and practices. • Understand and adhere to safety legalisation and best practice protocols. • Uphold the relevant codes of conduct and promote a culture of safe and ethical behaviour. • Anticipate potential safety issues, report unsafe practices or concerns through established channels and adapt work processes to ensure safety is maintained. • Recognise when the equipment you are installing is connected to a wider system that requires additional specialist skills to achieve overall system compliance. Ensure that you do not exceed the limits of your own level of competence and authority and that the system meets the cause and effect of the building requirements.
Preparing and implementing work. • Operate within the boundaries and scope of own responsibilities and capabilities to ensure clarity and collaboration. • Stop working immediately upon recognising situations requiring specialist skills or knowledge beyond your own and seek appropriate assistance. • Maintain a professional demeanour and positively interact with colleagues, customers, suppliers, and subcontractors. • Uphold a duty of care to the public, building occupants, and co-workers. • Take ownership of own work and actions, working to deadlines, and delivering high-quality results. • Proactively use sound judgment to anticipate, identify, analyse, and solve problems.
Environment and Sustainability: • Consistently integrate environmental and sustainability into decisions and actions. • Proactively promote environmentally responsible behaviour within the team and community. • Use available recycling and disposal outlets.
Digital Skills: Be open to new ideas and technologies and show a willingness to adapt to rapidly changing digital technologies and industry practices.
Retrofit: Keep up to date with the latest retrofit technologies, methodologies, and best practices and work with others to achieve retrofit goals and objectives.
Equality, Diversity & Inclusion: Take responsibility for following Equality, Diversity & Inclusion within the organisation. Be open to and respectful of the different views of others for all individuals, regardless of background. Work effectively with a diverse team, including architects, engineers, contractors, and clients to achieve goals and objectives. Advocate Equality, Diversity & Inclusion and question discriminatory behaviours or practices.
Net Zero: Show a willingness to embrace and implement innovative solutions for reducing carbon footprint a commitment to sustainability and environmental responsibility. Promote sustainable practices and show commitment to incorporating sustainability into all aspects of Door, Gate and Shutter systems.

## SIO- DGS-01 VR678
Role: | Service and maintain or commission door, gate or shutter systems | How long have you worked in the industry? |  | Rarely: Task is completed less than once every 3 months on average Regular: Task is completed more than once every 3 months on average | Trained or Qualified: You have received and passed formal manufacturers or industry training from a qualified source or hold a recognised qualification such as an NVQ, Apprenticeship or T Level. Train, Supervise or Quality Assure: You hold training sessions, supervise, coach or mentor individuals and provide feedback.
Refs: | SIO- DGS-01 | Years | Months
Description: | Servicing and maintaining industrial and pedestrian door, gate or shutter systems and ensuring they operate safely
| Skills You must be able to: | Knowledge You must know and understand: |  | Experience You must have experience of: Use the drop-down boxes to rate your current experience select one answer per row | I am not trained or qualified and do not complete this task as part of my role. | I am trained or qualified but rarely complete this task. I would need refresher training and supervision to complete the task. | I am qualified, this task is a regular part of my current role or I have completed it regularly in my time in the industry to an approved standard. | I also train, supervise or quality assure the work of operatives as part of my current role or a regular part of my time in the industry.
| Safe working environment and practices: | Safe working environment and practices: |  | Safe working environment and practices:
| Demonstrate application of relevant standards, regulations and codes of practice for working with door, gate or shutter systems. | Follow principles of minimum intervention and reversible alterations. |  | Demonstrate application of relevant legislation for working with door, gate or shutter system.
Determine the operational safety requirements of door, gate or shutter systems.
|  | Recognise situations requiring specialist skills or knowledge beyond your own, stop work immediately, report your findings, and seek assistance. |  | Demonstrate application of relevant standards, regulations and codes of practice for working with door, gate or shutter system.
Safely work with and around plant and machinery, and work at height using the correct access and fall prevention equipment.
|  | Demonstrate knowledge of current relevant standards, legislation, regulations and procedures for working with door, gate or shutter systems. |  | Implementation of work:
|  | Access and use operation, safety and maintenance documentation including: • Risk assessments and method statements (RAMS). • Machinery safety. • COSHH. • Operational Instruction Manuals (O&M). • Declaration of performance. • Declaration of conformity. • Conformity marking. |  | Risk assess the door, gate or shutter system to be serviced and maintained
|  | Identify potential hazards and risks: • The impact on other utility systems (fire, security alarms). • Hazardous substances (asbestos, lead). • Transportation considerations. |  | Identify and resolve problems and technical challenges when servicing and maintaining door, gate or shutter systems within the limit of the product specification and its application.
| Tools and Equipment: | Tools and Equipment: |  | Service and maintain industrial and commercial sectional door systems
| Safely and competently use and maintain hand tools, power tools and equipment for door, gate or shutter system service and maintenance. | Review select, utilise maintain the correct hand tools, power tools, and equipment safely. |  | Service and maintain industrial and commercial vertical moving door systems
|  | Identify when hand tools, power tools and equipment are unsafe and cannot be used. |  | Service and maintain industrial and commercial horizontally sliding and swing door systems
|  | Ensure unsafe hand tools, power tools and equipment are correctly labelled and removed from service. |  | Service and maintain industrial and commercial automated power gate systems
|  | Identify the principles of risk assessing and scoring, machinery directive, guarding and signage. |  | Service and maintain industrial and commercial automated power barrier systems
| Preparation of work: | Preparation of work: |  | Service and maintain pedestrian and residential domestic garage door systems
| Risk assess the door, gate or shutter system to be serviced and maintained to include: •Accessibility of all working parts of the complete system. •Determine a safe method of working. •Dynamically risk assess individual site-specific hazards. •Determine that the existing structural integrity is suitable for the service and maintenance of the door, gate or shutter. •Ensure that the area of work is safely cordoned off to establish the safety of the employee and other users. | Confirm requirements, methods of work, resources, and materials conform to specifications. |  | Service and maintain pedestrian and residential powered garage door systems
|  | Identify where a service and maintenance procedure is not safe, possible or viable. |  | Service and maintain pedestrian and residential manual slide door systems
|  | Ensure that the power supply is safely isolated and locked off before commencing any work on a door, gate or shutter system. |  | Service and maintain pedestrian and residential manual swing door systems
Service and maintain pedestrian and residential manual folding door systems
|  | Recognise the structural composition of mounting and fixing points. |  | Service and maintain pedestrian and residential powered slide door systems
|  | Position and erect supports. |  | Service and maintain pedestrian and residential powered swing door systems
|  | Review and select the correct resources to service and maintain a door, gate or shutter system: • Labour requirements. • Access and lifting equipment. • Specialised tools required. • Consumables. • Fittings and fixings. • Additional support services required. • Third party certification requirements. |  | Service and maintain pedestrian and residential powered folding door systems
|  | Identify the resources required and their applications including: •The types of door, gate or shutter systems and their components. • Drive Systems. • Sensors. • Safety Edges. (Pressure sensitive protective equipment - PSPE) • Non-Contact Presence Detection. (Electro sensitive protective equipment ESPE) • Switching Technology. • Interpret Operational Instruction Manuals. •Quantities, qualities, and sizes of parts, components and equipment are correct for servicing and maintaining doors, gates or shutters. |  | Service and maintain pedestrian and residential revolving door systems
| Implementation of work: | Implementation of work: |  | Service and maintain pedestrian and residential manual gate systems
| Identify and resolve problems and technical challenges when servicing and maintaining door, gate or shutter systems within the limit of the product specification and its application. | Inspect and determine the correct service requirements for door, gate or shutter systems, including adjustments, periodic, scheduled, and event-based service and maintenance plans. |  | Service and maintain roller shutter systems.
| Service and maintain various door and gate systems based on working instructions. Commercial: • Sectional doors. • Vertical moving doors. • Horizontally sliding and swing doors. • Automated/power-operated gates. • Automated/power-operated barriers. | Maintain awareness of specific procedures for working on buildings of historical significance. |  | Service and maintain grille shutter systems.
|  | Utilise parts manuals, guides, technical service bulletins, and electronic data to troubleshoot, service and maintain door, gate or shutter systems. |  | Service and maintain sectional overhead door systems.
|  | Recognise the various parts and components that make up a door, gate or shutter system, their functions interactions and dependencies on each other to support troubleshooting problems and performing service and maintenance tasks. |  | Service and maintain horizontally moving shutter systems.
| Service and maintain various door and gate systems based on working instructions. Pedestrian / Residential: • Domestic garage doors (panel, rolling or sectional constructions). • Power-operated domestic garage doors • Manual slide, swing, and folding doors. • Power-operated slide, swing, or folding doors. • Revolving doors. • Automated/power-operated gates. • Automated/power-operated barriers. | Correctly use control and guide lifting techniques and appliances. |  | Service and maintain manual shutter systems.
|  | Disassemble the door, gate or shutter system to service, maintain or replace working parts and components, reassemble and recommission required. |  | Service and maintain powered shutter systems.
|  | Keeping the moving parts of a door, gate, or shutter system clean and lubricated to ensure smooth operation, and effectively maintain the proper functioning to prevent premature wear and tear. |  | Service and maintain solar powered shutter systems.
| Service and maintain various shutter systems based on working instructions. • Roller shutters and grilles • Sectional • Vertical moving • Horizontally acting • Manual and power-operated | Inspect and check, door, gate or shutter systems ensuring service and maintenance meets the quality requirements. |  | Functionality and Safety Checks
|  | Adjust door, gate or shutter systems, where adaptions can be made within the limitations of: • The product type. • Current legislation and standards • For a safe, compliant and efficient operation. |  | Connect, adjust, and test the system including relevant activation and safety sensors.
| Apply control circuits, testing, fault finding, integration with motors, control boards, and safety sensors for door, gate or shutter systems. •Connect, adjust, and test the system including relevant activation and safety sensors. •Verify the operational functionality of the serviced and maintained system. •Service and maintain third party certified doorsets in line with manufacturers’ instructions or to meet the tested scheme requirements. •Carry out force testing, analyse results and make amendments as required. •Test operational functionality and safety devices of the door gate or shutter system. | Apply control circuit applications knowledge to meet a specification and safe operating standard, replacing components as required including: • Electrical wiring and control systems. • Control systems with motors, control boards, and safety components. • Activation and safety sensors, electro-sensitive protective equipment (ESPE) and pressure-sensitive proctective equipment (PSPE). |  | Verify the operational functionality of the system.
| Functionality and Safety Checks | Functionality and Safety Checks |  | Service and maintain third party certified doorsets in line with manufacturers’ instructions or to meet the tested scheme requirements.
| Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door, gate or shutter speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required. | Inspect, check, and test the operation of doors, gates, or shutter safety devices. |  | Carry out force testing, analyse results and make amendments as required.
|  | Use the correct equipment to inspect and test the safe and efficient operation of door, gate or shutter system. |  | Test operational functionality and safety devices of the door gate or shutter system.
| Identify when a door, gate or shutter system is unsafe and needs to be turned off. | Recognise a third-party certified doorset and the associated service and maintainence instructions |  | Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door, gate or shutter speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required.
|  | Identify the criteria that constitutes an unsafe system. |  | Identify when a door, gate or shutter system is unsafe and needs to be turned off.
| Communicate when a door, gate or shutter system is deemed to be unsafe and issue an unsafe system notice. | Process and document the issuing of an unsafe system notice. |  | Wider Experience:
|  | Determine the consequences of failing to issue and correctly document the issuance of an unsafe system notice. |  | Following Equality, Diversity & Inclusion policies, working as part of a diverse team and engaging with diverse communities and stakeholders.
| Teamwork & Communication | Teamwork & Communication |  | Contributing towards achieving Net Zero by working on projects with a focus on sustainability and energy efficiency.
| Work effectively within a team environment and be mindful of the needs of other occupations involved in the service and maintenance process. | Collaborate effectively within a team environment and be mindful of the needs of other occupations involved in the service and maintenance process. |  | Working with multidisciplinary teams to use digital solutions across installation, maintenance, service or repair activities.
| Client Communication |  |  | Complying with quality standards and performance criteria retrofit different types of buildings, including residential, commercial, and heritage properties.
| Effectively communicate operational instructions, principles, user training and safety measures, to clients, customers, or their representatives. |  |  | Yes
Drop Down Info
|  | 1 | 1
|  | 2 | 2
|  | 3 | 3
|  | 4 | 4
|  | 5 | 5
|  | 6 | 6
|  | 7 | 7
|  | 8 | 8
|  | 9 | 9
|  | 10 | 10
|  | 11 | 11
|  | 12+ | 12

## SIO- DGS-02 VR676
Role: | Install door and gate systems | How long have you worked in the industry? |  | Rarely: Task is completed less than once every 3 months on average Regular: Task is completed more than once every 3 months on average | Trained or Qualified: You have received and passed formal manufacturers or industry training from a qualified source or hold a recognised qualification such as an NVQ, Apprenticeship or T Level. Train, Supervise or Quality Assure: You hold training sessions, supervise, coach or mentor individuals and provide feedback.
Refs: | SIO- DGS-02 | Years | Months
Description: | Installing industrial and pedestrian door and gate systems and ensuring they operate safely
| Skills You must be able to: | Knowledge You must know and understand: |  | Experience You must have experience of: Use the drop-down boxes to rate your current experience select one answer per row | I am not trained or qualified and do not complete this task as part of my role. | I am trained or qualified but rarely complete this task. I would need refresher training and supervision to complete the task. | I am qualified, this task is a regular part of my current role or I have completed it regularly in my time in the industry to an approved standard. | I also train, supervise or quality assure the work of operatives as part of my current role or a regular part of my time in the industry.
| Safe working environment and practices: | Safe working environment and practices: |  | Safe working environment and practices:
| Demonstrate the application of relevant standards, regulations and codes of practice for working with automatic door and gate systems. | Demonstrate knowledge of current relevant standards, legislation, regulations and procedures for working with door and gate systems. |  | Demonstrate the application of relevant legislation for working with automatic door and gate systems.
Follow principles of minimum intervention and reversible alterations.
|  | Determine the operational safety requirements of powered doors and gate systems. |  | Demonstrate the application of relevant standards, regulations and codes of practice for working with automatic door and gate systems.
Recognise situations requiring specialist skills or knowledge beyond your own, stop work immediately, report your findings, and seek assistance.
|  | Safely work with and around plant and machinery, and work at height using the correct access and fall prevention equipment. |  | Implementation of work:
|  | Access and use operational safety documentation including: • Risk assessments and method statements. (RAMS) • Machinery safety. • COSHH. • Operational instruction manuals. (O&M) • Declaration of performance. • Declaration of conformity. • Conformity marking |  | Install and commission industrial and commercial sectional door systems
|  |  |  | Install and commission industrial and commercial vertical moving door systems | Yes
|  | Identify potential hazards and risks: • The impact on other utility systems (fire, security alarms). • Hazardous substances (asbestos, lead). • Transportation considerations. |  | Install and commission industrial and commercial horizontally sliding and swing door systems |  |  | Yes
| Tools and Equipment: | Tools and Equipment: |  | Install and commission industrial and commercial automated power gate systems
| Safely and competently use and maintain hand tools, power tools, and equipment for door and gate system installations. | Review select, utilise and maintain the correct hand tools, power tools, and equipment safely. |  | Install and commission industrial and commercial automated power barrier systems
|  | Identify when hand tools, power tools, and equipment are unsafe and cannot be used. |  | Install and commission pedestrian and residential domestic garage door systems
|  | Ensure unsafe hand tools, power tools, and equipment are correctly labelled and removed from service. |  | Install and commission pedestrian and residential powered garage door systems
|  | Identify the principles of risk assessing and scoring, machinery directive, guarding and signage. |  | Install and commission pedestrian and residential manual slide door systems
| Preparation of work: | Preparation of work: |  | Install and commission pedestrian and residential manual swing door systems
| Demonstrate the ability to accurately measure building openings for door and gate installation. | Confirm requirements, methods of work, resources, and materials conform to specifications. |  | Install and commission pedestrian and residential manual folding door systems
|  | Ensure that the power supply is safely isolated and locked off before commencing any work on a door or gate system. |  | Install and commission pedestrian and residential powered slide door systems
Install and commission pedestrian and residential powered swing door systems
|  | Recognise the structural composition of mounting and fixing points. |  | Install and commission pedestrian and residential powered folding door systems
| Mark out positions for door and gate components based on measurements and working instructions. | Identify and assess the weight and centre of balance. |  | Install and commission pedestrian and residential revolving door systems
|  | Recognise the various parts and components that make up a door and gate system, their suitability for the intended use, functions, interactions, and dependencies on each other. |  | Install and commission pedestrian and residential manual gate systems
|  | Position and erect supports. |  | Install and commission pedestrian and residential powered gate systems
|  | Review and select the correct resources: • Access and lifting equipment. • Consumables. • Fittings and fixings. |  | Set up electrical wiring and control systems for automatic doors and gate systems.
| Determine that the existing structural integrity is suitable for the application of the door and gate system. | Identify the resources required and their applications including: • The types of door and gate systems and their components. • Drive Systems. • Sensors. • Safety Edges. (Pressure sensitive protective equipment - PSPE) • Non-Contact Presence Detection. (Electro sensitive protective equipment ESPE) • Switching Technology • Operating systems. • Parts & components. • Power source and supplies for installation of powered door and gate systems. • Quantities, qualities, and sizes of materials, components, and equipment for doors and gate systems. |  | Test and troubleshoot electrical wiring and control systems.
Integrate control systems with motors, control boards, and safety components.
Connecting, adjusting, and testing installed door and gate systems.
Installing and testing activation and safety sensors
Installing and testing electro sensitive protective equipment (ESPE)
| Implementation of work: | Implementation of work: |  | Installing and testing pressure sensitive protective equipment (PSPE).
| Lift, level, balance and align door and gate components during installation. | Correctly use control and guide lifting techniques and appliances. |  | Functionality and Safety Checks
| Fit components together securely and adjust for proper and safe operation. | Connect, adjust, and test installed door and gate systems. |  | Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door or gate speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required.
| Securely fix door and gate systems. | Maintain awareness of specific procedures for working on buildings of historical significance.
| Install door and gate systems in line with manufacturer installation instructions. |  |  | Wider Experience:
| Identify and resolve problems and technical challenges when installing doors and gate systems within the limit of the product specification and its application. | Ensure installations meet compliance and safety requirements. |  | Following Equality, Diversity & Inclusion policies, working as part of a diverse team and engaging with diverse communities and stakeholders.
| Apply the correct finishing touches to door and gate installations. |  |  | Contributing towards achieving Net Zero by working on projects with a focus on sustainability and energy efficiency.
| Install and commission industrial and commercial door and gate systems: • Sectional doors. • Vertical moving doors. • Horizontally sliding and swing doors. • Automated/power-operated gates. • Automated/power-operated barriers. | Install and commission industrial and commercial door and gate systems: • Sectional Doors • Vertical moving doors • Horizontally sliding and swing doors • Automated/power-operated gates. • Automated/power-operated barriers. |  | Working with multidisciplinary teams to use digital solutions across installation, maintenance, service or repair activities.
| Install and commission pedestrian and residential door and gate systems: • Domestic garage doors (panel, rolling or sectional constructions). • Powered domestic garage doors • Manual slide, swing, and folding doors. • Power-operated slide, swing, or folding doors. • Revolving doors. • Automated/power-operated gates. • Automated/power-operated barriers. | Install and commission pedestrian and residential door and gate systems: • Domestic garage doors (panel, rolling or sectional constructions). • Power-operated domestic garage doors • Manual slide, swing, and folding doors. •Power-operated slide, swing, or folding doors. • Revolving doors. • Automated/power-operated gates. • Automated/power-operated barriers. |  | Complying with quality standards and performance criteria retrofit different types of buildings, including residential, commercial, and heritage properties.
| Apply control circuit application skills to meet a specification and safe operating standard: • Set up electrical wiring and control systems for automatic doors and gate systems. • Test and troubleshoot electrical wiring and control systems. • Integrate control systems with motors, control boards, and safety components. • Connect, adjust, and test installed door and gate systems. • Work with activation and safety sensors, electro sensitive protective equipment (ESPE) and pressure sensitive protective equipment (PSPE). | Apply control circuit applications knowledge to meet a specification and safe operating standard: • Setting up electrical wiring and control systems for automatic doors and gates. • testing and troubleshooting electrical wiring and control systems. • Integrating control systems with motors, control boards, and safety components. • Installing activation and safety sensors, electro-sensitive protective equipment (ESPE) and pressure-sensitive protective equipment (PSPE). |  | Yes
Adjust a door and gate system, where adaptions can be made within the limitations of: • The product type. • Current legislation and standards. • For a safe, compliant and efficient operation.
| Functionality and Safety Checks | Functionality and Safety Checks
| Connect, adjust, and test installed door systems and associated activation and safety sensors. | Inspect, check, and test the operation of doors, gate systems and safety devices.
Test operational functionality of installed door and gate systems.
| Ensure all safety devices are working correctly. | Use the correct equipment to inspect and test the safe and efficient operation of a door and gate system.
Carry out force testing, analyse results and make amendments as required.
Verify the operational functionality of the installed system.
| Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door or gate speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required. | Recognise a third party certified doorset and the associated installation instructions.
| Teamwork & Communication | Teamwork & Communication
| Work effectively within a team environment and be mindful of the needs of other occupations involved in the installation process. | Collaborate effectively within a team environment and be mindful of the needs of other occupations involved in the installation process.
Client Communication
Effectively communicate operational instructions, principles, user training and safety measures, to clients, customers, or their representatives.
Drop Down Info
|  | 1 | 1
|  | 2 | 2
|  | 3 | 3
|  | 4 | 4
|  | 5 | 5
|  | 6 | 6
|  | 7 | 7
|  | 8 | 8
|  | 9 | 9
|  | 10 | 10
|  | 11 | 11
|  | 12+ | 12

## SIO- DGS-03 VR677
Role: | Install shutter systems | How long have you worked in the industry? |  | Rarely: Task is completed less than once every 3 months on average Regular: Task is completed more than once every 3 months on average | Trained or Qualified: You have received and passed formal manufacturers or industry training from a qualified source or hold a recognised qualification such as an NVQ, Apprenticeship or T Level. Train, Supervise or Quality Assure: You hold training sessions, supervise, coach or mentor individuals and provide feedback.
Refs: | SIO- DGS-03 | Years | Months
Description: | Installing and commissioning shutter systems |  | 3
Functional Map | Skills You must be able to: | Knowledge You must know and understand: |  | Experience You must have experience of: Use the drop-down boxes to rate your current experience select one answer per row | I am not trained or qualified and do not complete this task as part of my role. | I am trained or qualified but rarely complete this task. I would need refresher training and supervision to complete the task. | I am qualified, this task is a regular part of my current role or I have completed it regularly in my time in the industry to an approved standard. | I also train, supervise or quality assure the work of operatives as part of my current role or a regular part of my time in the industry.
| Safe working environment and practices: | Safe working environment and practices: |  | Safe working environment and practices:
| Demonstrate the application of relevant standards, regulations and codes of practice for working with shutter systems. | Demonstrate knowledge of current relevant standards, legislation, regulations and procedures for working with shutter systems. |  | Demonstrate the application of relevant legislation for working with automatic shutter systems.
Follow principles of minimum intervention and reversible alterations.
|  | Determine the operational safety requirements of shutter systems. |  | Demonstrate the application of relevant standards, regulations and codes of practice for working with automatic shutter systems.
Recognise situations requiring specialist skills or knowledge beyond your own, stop work immediately, report your findings, and seek assistance.
|  | Safely work with and around plant and machinery, and work at height using the correct access and fall prevention equipment. |  | Implementation of work:
|  | Access and use operational safety documentation including: • Risk assessments and method statements. (RAMS) • Machinery safety. • COSHH. • Operational instruction manuals. (O&M) • Declaration of performance. • Declaration of conformity. • Conformity marking |  | Prepare, install, and commission roller shutter systems.
Prepare, install, and commission grille shutter systems.
|  | Identify potential hazards and risks: • The impact on other utility systems (fire, security alarms). • Hazardous substances (asbestos, lead). • Transportation considerations. |  | Prepare, install, and commission sectional overhead doors systems.
| Tools and Equipment: | Tools and Equipment: |  | Prepare, install, and commission horizontally moving shutter systems.
| Safely and competently use and maintain hand tools, power tools, and equipment for shutter system installations. | Review select, utilise and maintain the correct hand tools, power tools, and equipment safely. |  | Prepare, install, and commission manual shutter systems.
|  | Identify when hand tools, power tools, and equipment are unsafe and cannot be used. |  | Prepare, install, and commission powered shutter systems.
|  | Ensure unsafe hand tools, power tools, and equipment are correctly labelled and removed from service. |  | Prepare, install, and commission solar powered shutter systems.
|  | Identify the principles of risk assessing and scoring, machinery directive, guarding and signage. |  | Functionality and Safety Checks
| Preparation of work: | Preparation of work: |  | Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door or gate speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required.
| Demonstrate the ability to accurately measure building openings for shutter installation. | Confirm requirements, methods of work, resources, and materials conform to specifications.
|  | Ensure that the power supply is safely isolated and locked off before commencing any work on a shutter system. |  | Wider Experience:
Following Equality, Diversity & Inclusion policies, working as part of a diverse team and engaging with diverse communities and stakeholders.
|  | Recognise the structural composition of mounting and fixing points. |  | Contributing towards achieving Net Zero by working on projects with a focus on sustainability and energy efficiency.
| Mark out positions for shutter components based on measurements and working instructions. | Identify and assess the weight and centre of balance. |  | Working with multidisciplinary teams to use digital solutions across installation, maintenance, service or repair activities.
|  | Recognise the various parts and components that make up a shutter system, their suitability for the intended use, functions, interactions, and dependencies on each other. |  | Complying with quality standards and performance criteria retrofit different types of buildings, including residential, commercial, and heritage properties.
|  | Position and erect supports. |  | Yes
Review and select the correct resources: • Access and lifting equipment. • Consumables. • Fittings and fixings.
| Determine that the existing structural integrity is suitable for the application of the shutter system. | Identify the resources required and their applications including: • The types of shutter systems and their components. • Drive Systems. • Sensors. • Safety Edges. (Pressure sensitive protective equipment - PSPE) • Non-Contact Presence Detection. (Electro sensitive protective equipment ESPE) • Switching Technology (e.g. Hold to Run) • Operating systems. • Parts & components. • Power source and supplies for installation of powered shutter systems. •Quantities, qualities, and sizes of materials, components, and equipment for shutter systems
| Implementation of work: | Implementation of work:
| Lift, level, balance and align shutter components during installation. | Correctly use control and guide lifting techniques and appliances.
| Fit components together securely and adjust for proper and safe operation. | Connect, adjust, and test installed shutter systems.
| Securely fix shutter systems to building structures. | Maintain awareness of specific procedures for working on buildings of historical significance.
Install shutter systems in line with manufacturer installation instructions.
| Identify and resolve problems and technical challenges when installing shutter systems within the limit of the product specification and its application. | Ensure installations meet compliance and safety requirements.
Apply the correct finishing touches to shutter installations.
| Prepare, install, and commission shutter systems. • Roller shutters and grilles. • Sectional shutters. • Vertical moving shutters. • Horizontally acting shutters. • Manual and power-operated shutters. | Install shutter systems including: • Roller shutters and grilles. • Sectional. • Vertically moving. • Horizontally acting. • Manual and power-operated.
| Apply control circuit application skills to meet a specification and safe operating standard: • Set up electrical wiring and control systems for powered shutters. • Test and troubleshoot electrical wiring and control systems. • Integrate control systems with motors, control boards, and safety components. • Connect, adjust, and test installed shutter systems. • Work with activation and safety sensors, electro sensitive protective equipment (ESPE) and pressure sensitive protective equipment (PSPE). | Apply control circuit applications knowledge to meet a specification and safe operating standard: • Setting up electrical wiring and control systems for automatic doors and gates. • testing and troubleshooting electrical wiring and control systems. • Integrating control systems with motors, control boards, and safety components. • Installing activation and safety sensors, electro-sensitive protective equipment (ESPE) and pressure-sensitive protective equipment (PSPE).
Adjust a shutter system, where adaptions can be made within the limitations of: • The product type. • Current legislation and standards. • For a safe, compliant and efficient operation.
| Functionality and Safety Checks | Functionality and Safety Checks
| Connect, adjust, and test installed door systems and associated activation and safety sensors. | Inspect, check, and test the operation of shutter systems and safety devices.
Test operational functionality of installed shutter systems.
Ensure all safety devices are working correctly.
| Carry out force testing, analyse results and make amendments as required. | Use the correct equipment to inspect and test the safe and efficient operation of a shutter system.
Verify the operational functionality of the installed system.
Analyse data and make adjustments to ensure products meet Force testing requirements: • Maximum door or gate speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required.
| Teamwork & Communication | Teamwork & Communication
| Work effectively within a team environment and be mindful of the needs of other occupations involved in the installation process. | Collaborate effectively within a team environment and be mindful of the needs of other occupations involved in the installation process.
Client Communication
Effectively communicate operational instructions, principles, user training and safety measures, to clients, customers, or their representatives.
Drop Down Info
|  | 1 | 1
|  | 2 | 2
|  | 3 | 3
|  | 4 | 4
|  | 5 | 5
|  | 6 | 6
|  | 7 | 7
|  | 8 | 8
|  | 9 | 9
|  | 10 | 10
|  | 11 | 11
|  | 12+ | 12

## SIO- DGS-04 VR679
Role: | Dismantle and repair door, gate or shutter systems | How long have you worked in the industry? |  | Rarely: Task is completed less than once every 3 months on average Regular: Task is completed more than once every 3 months on average | Trained or Qualified: You have received and passed formal manufacturers or industry training from a qualified source or hold a recognised qualification such as an NVQ, Apprenticeship or T Level. Train, Supervise or Quality Assure: You hold training sessions, supervise, coach or mentor individuals and provide feedback.
Refs: | SIO- DGS-04 | Years | Months
Description: | Dismantling and repairing industrial, pedestrian door, gate and shutter systems
| Skills You must be able to: | Knowledge You must know and understand: |  | Experience You must have experience of: Use the drop-down boxes to rate your current experience select one answer per row | I am not trained or qualified and do not complete this task as part of my role. | I am trained or qualified but rarely complete this task. I would need refresher training and supervision to complete the task. | I am qualified, this task is a regular part of my current role or I have completed it regularly in my time in the industry to an approved standard. | I also train, supervise or quality assure the work of operatives as part of my current role or a regular part of my time in the industry.
| Safe working environment and practices: | Safe working environment and practices: |  | Safe working environment and practices:
| Demonstrate application of relevant standards, regulations and codes of practice for working with door, gate or shutter systems. | Follow principles of minimum intervention and reversible alterations. |  | Demonstrate application of relevant legislation for working with door, gate or shutter system.
Determine the operational safety requirements of door, gate or shutter systems.
|  | Recognise situations requiring specialist skills or knowledge beyond your own, stop work immediately, report your findings, and seek assistance. |  | Demonstrate application of relevant standards, regulations and codes of practice for working with door, gate or shutter system.
Safely work with and around plant and machinery, and work at height using the correct access and fall prevention equipment.
|  | Demonstrate knowledge of current relevant standards, legislation, regulations and procedures for working with door, gate or shutter systems. |  | Implementation of work:
|  | Access and use operation, safety and maintenance documentation including: • Risk assessments and method statements (RAMS). • Machinery safety. • COSHH. • Operational Instruction Manuals (O&M). • Declaration of performance. • Declaration of conformity. • Conformity marking. |  | Risk assess the door, gate or shutter system to be dismantled and repaired.
|  | Identify potential hazards and risks: • The impact on other utility systems (fire, security alarms). • Hazardous substances (asbestos, lead). • Transportation considerations. |  | Dismantle and repair industrial and commercial sectional door systems
| Tools and Equipment: | Tools and Equipment: |  | Dismantle and repair industrial and commercial vertical moving door systems
| Safely and competently use and maintain hand tools, power tools and equipment for dismantling and repairing door, gate or shutter systems. | Review select, utilise maintain the correct hand tools, power tools, and equipment safely. |  | Dismantle and repair industrial and commercial horizontally sliding and swing door systems
|  | Identify when hand tools, power tools and equipment is unsafe and cannot be used. |  | Dismantle and repair industrial and commercial automated power gate systems
|  | Ensure unsafe hand tools, power tools and equipment are correctly labelled and removed from service. |  | Dismantle and repair industrial and commercial automated power barrier systems
|  | Identify the principles of risk assessing and scoring, machinery directive, guarding and signage. |  | Dismantle and repair pedestrian and residential domestic garage door systems
| Preparation of work: | Preparation of work: |  | Dismantle and repair pedestrian and residential powered garage door systems
| Risk assess the door, gate or shutter system to be dismantled or repaired to include: • The structural integrity of the surrounding area and aperture. • Accessibility of all working parts of the complete system. • Determine a safe method of working. • Dynamically risk assess individual site-specific hazards. • Determine that the existing structural integrity is suitable for the repair of the door, gate or shutter. • Ensure that the area of work is safely cordoned off to establish the safety of the employee and other users. | Confirm requirements, methods of work, resources, and materials conform to specifications. |  | Dismantle and repair pedestrian and residential manual slide door systems
|  | Identify where a repair procedure is not safe, possible or viable. |  | Dismantle and repair pedestrian and residential manual swing door systems
|  | Ensure that the power supply is safely isolated and locked off before commencing any work on a door, gate or shutter system. |  | Dismantle and repair pedestrian and residential manual folding door systems
Dismantle and repair pedestrian and residential powered slide door systems
|  | Recognise the various parts and components that make up a door and gate system, their suitability for the intended use, functions, interactions, and dependencies on each other. |  | Dismantle and repair pedestrian and residential powered swing door systems
|  | Position and erect supports. |  | Dismantle and repair pedestrian and residential powered folding door systems
|  | Review and select the correct resources to safely dismantle a door, gate or shutter system: • Labour requirements. • Access and lifting equipment. • Specialised tools required. • Consumables. • Fittings and fixings. • Additional support services required. • Third party certification requirements. |  | Dismantle and repair pedestrian and residential revolving door systems
Dismantle and repair pedestrian and residential manual gate systems
|  | Identify the resources required and their applications including: • The types of door, gate or shutter systems and their components. • Drive Systems. • Sensors. • Safety Edges. (Pressure sensitive protective equipment - PSPE) • Non-Contact Presence Detection. (Electro sensitive protective equipment ESPE) • Switching Technology. • Different repair and replacement materials or components. • Interpret Operational Instruction Manuals (O&M). • Quantities, sizes, lengths, areas, and material wastage when dismantling or repairing door, gate or shutter systems. |  | Dismantle and repair roller shutter systems.
Dismantle and repair grille shutter systems.
Dismantle and repair sectional overhead door systems.
| Implementation of work: | Implementation of work: |  | Dismantle and repair horizontally moving shutter systems.
| Identify and resolve problems and technical challenges when dismantling and repairing door, gate or shutter systems within the limit of the product specification and its application. | Evaluate, secure, dismantle, clean and repair door, gate or shutter systems based on risk assessments and methods of work. Evaluate, secure, safely dismantle and remove door, gate or shutter systems based on risk assessments and methods of work. |  | Dismantle and repair manual shutter systems.
| Dismantle, repair or remove commercial door and gate systems based on risk assessments and methods of work. • Sectional doors. • Vertical moving doors. • Horizontally sliding and swing doors. • Automated/power-operated gates. • Automated/power-operated barriers. | Maintain awareness of specific procedures for working on buildings of historical significance. |  | Dismantle and repair powered shutter systems.
|  | Diagnose requirements, disassemble, remove, repair and replace worn or damaged components and reassemble door, gate or shutter systems. |  | Dismantle and repair solar powered shutter systems.
| Dismantle, repair or remove pedestrian and residential door and gate systems based on risk assessments and methods of work. • Domestic garage doors (panel, rolling or sectional constructions). • Power-operated domestic garage doors • Manual slide, swing, and folding doors. • Power-operated slide, swing, or folding doors. • Revolving doors. • Manual and power operated gates. | Recognise the structural composition of mounting and fixing points. |  | Functionality and Safety Checks
|  | Disassemble, repair or replace unserviceable, damaged and worn components of door, gate, or shutter systems. |  | Connect, adjust, and test the system including relevant activation and safety sensors.
| Dismantle, repair or remove various shutter systems based on risk assessments and methods of work. • Roller shutters and grilles • Sectional • Vertically moving • Horizontally acting • Manual and power-operated | Correctly use control and guide lifting techniques and appliances. |  | Verify the operational functionality of the repaired system.
|  | Ensure repairs meet quality requirements. |  | Dismantle and repair third party certified doorsets in line with manufacturers’ instructions or to meet the tested scheme requirements.
| Analyse data and make adjustments to ensure products meet force testing requirements: • Maximum door, gate and shutter speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required. | Adjust door gate or shutter systems, where adaptions can be made within the limitations of: • The product type. • Current legislation and standards • For a safe, compliant and efficient operation. |  | Carry out force testing, analyse results and make amendments as required.
|  | Apply control circuit applications knowledge to meet a specification and safe operating standard, replacing components as required including: • Electrical wiring and control systems. • Control systems with motors, control boards, and safety components. • Activation and safety sensors, electro-sensitive protective equipment (ESPE) and pressure-sensitive protective equipment (PSPE). |  | Test operational functionality and safety devices of the door gate or shutter system.
| Apply control circuits, testing, fault finding, integration with motors, control boards, and safety sensors for powered doors, shutters or gates. • Connect, adjust, and test repaired door, gate or shutter systems and associated activation and safety sensors. • Verify the operational functionality of the repaired system. • Repair third party certified doorsets in line with manufacturers’ instructions or to meet the tested scheme requirements. • Test operational functionality and safety devices of the door gate and shutter system. | Functionality and Safety Checks |  | Analyse data and make adjustments to ensure products meet force testing requirements: • Maximum door, gate or shutter speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required.
| Functionality and Safety Checks | Inspect, check, and test the operation of doors, gates, or shutter safety devices. |  | Identify when a door, gate or shutter system is unsafe and needs to be turned off.
| Analyse data and make adjustments to ensure products meet force testing requirements: • Maximum door, gate or shutter speeds are not exceeded. • Carry out a residual risk assessment and complete any corrective actions required. | Use the correct equipment to inspect and test the safe and efficient operation of door, gate or shutter system. |  | Wider Experience:
|  | Recognise a third party certified doorset and the associated installation instructions. |  | Following Equality, Diversity & Inclusion policies, working as part of a diverse team and engaging with diverse communities and stakeholders.
| Identify when a door, gate and shutter system is unsafe and needs to be turned off. | Identify the criteria that constitutes an unsafe system. |  | Contributing towards achieving Net Zero by working on projects with a focus on sustainability and energy efficiency.
|  | Process and document the issuing of an unsafe system notice. |  | Working with multidisciplinary teams to use digital solutions across installation, maintenance, service or repair activities.
|  | Determine the consequences of failing to issue and correctly document the issuance of an unsafe system notice. |  | Complying with quality standards and performance criteria retrofit different types of buildings, including residential, commercial, and heritage properties.
| Communicate when a door, gate and shutter system is deemed to be unsafe and issue an unsafe system notice. |  |  | Yes
Teamwork & Communication
| Teamwork & Communication | Collaborate effectively within a team environment and be mindful of the needs of other occupations involved in the dismantling and repair process.
Work effectively within a team environment and be mindful of the needs of other occupations involved in the dismantling and repair process.
Client Communication
Effectively communicate operational instructions, principles, user training and safety measures, to clients, customers, or their representatives.
Drop Down Info
|  | 1 | 1
|  | 2 | 2
|  | 3 | 3
|  | 4 | 4
|  | 5 | 5
|  | 6 | 6
|  | 7 | 7
|  | 8 | 8
|  | 9 | 9
|  | 10 | 10
|  | 11 | 11
|  | 12+ | 12