## Overview
Training Pathways for Insulated Building Treatments External Wall Insulation (EWI)
1 | PURPOSE
The purpose of this work, the Route to Competence (RtC) and Skills, Knowledge, Experience and Behaviour (SKEB) statements is to highlight the current standard and qualification landscape for External Wall Insulation within the Insulation and Building Treatment Sector.
1.1 | Through consultation with sector experts, this will help clarify, if there is, already in place, the necessary structure to train and qualify the workforce and maintain and monitor levels of competence. Building regulations and industry best practice knowledge guidelines were followed throughout consultation.
2 | SCOPE
2.1 | The scope of the document provides an ‘As Is’ view of the current Competence requirements and Training Pathways.
3 | DEFINITIONS
3.1 | SKEB - Skills, Knowledge, Experience and Behaviours
3.2 | VQ - Vocational Qualification – NVQ and SVQ
3.3 | COSVR XXX - Specific National Occupation Standards
3.4 | RQF - Regulated Qualification Framework (England)
4 | FUNCTION MAP
The current competencies required as agreed by industry under National Occupational Standards (NOS) development and review
5 | Experience
Information that can be evidenced to confirm level of experience
6 | BEHAVIOURS
Core behavioural statements originating from the BSI Flex 8670 document which sets out core building safety competence criteria. Demonstration of behaviours should form part of all competency assessment activity.
7 | Generic
Generic skills and knowledge statements applicable for all roles of External Wall Insulation operative - EWI Boarder, EWI Finisher & EWI Boarder/Finisher
6 | CORE TRADE COMPETENCIES
Each function has been mapped from the NOS and provides the Skills and Knowledge of what is likely to be undertaken under each function. Continuous review of trade specific competencies in line with NOS and Apprenticeship standards well remain an iterative process across all nations

## Functional Map
Functional Map |  | Pathways |  |  | Short Duration Training Standards | Re-validation
Activities |  | EWI Boarder | EWI Finisher | EWI Boarder/Finisher
Core Construction Competencies
CC001 | Confirm work activities and resources for the work | Yes | Yes | Yes
CC002 | Develop and maintain good working relationships | Yes | Yes | Yes
CC003 | Confirm the occupational method of work | Yes | Yes | Yes
CC004 | Conform to general health, safety and welfare in the workplace | Yes | Yes | Yes | • Fire safety in buildings
Trade Specific Competencies
EWI 001 | Install external wall insulation | Yes |  | Yes | • Surface preparation and board installation for EWI • Exterior wall surface preparation and application of a surface water repellent • Preparing to and installing EWI
EWI 002 | Apply surface finishes to external wall insulation |  | Yes | Yes | • Applying surface finishes to external wall insulation
EWI 003 | Insulation and building treatments building construction, defects and interfaces | Yes | Yes | Yes | • Insulation and building treatments (IBT) building construction, defects and interfaces
*NOTE In Scotland the Apprenticeship GT1G 23 while available it is not a pathway that is being taken up as there are 3 critical issues:
1. There are no providers
2. There is no IST
3. There are no qualified assessors in Scotland for this apprenticeship

## Core Trade Competencies
Core Trade Competencies
Description: | This standard will also involve interpreting information, adopting safe, healthy and environmentally responsible work practices, selecting and using materials, components, tools and equipment, minimising damage, and working within the allocated time, in accordance with organisational requirements which are equal to or exceed current statutory and legislative requirements
| Skills |  | Knowledge
| You must be able to: | 8670 mapping | you must know and understand: | 8670 mapping
Interpret Information | interpret and use the information relating to the work and resources to confirm its relevance for the following: • drawings • specifications • schedules • risk assessments • method statements · suppliers and manufacturers’ information • data sheets | 2 B3, E1, E2 3 A1 | why company procedures have been developed and how they are implemented types of information, their source and how they are used in relation to: • drawings • specifications • schedules • risk assessments • method statements • standards • suppliers and manufacturers’ information · data sheets • official guidance • Current legislation and regulations governing buildings the importance of reporting and rectifying inappropriate information relevant, current legislation, standards and official guidance and how they are applied | 2 A1 I / iii /iv, A2, A3, C2
Safe work practices | comply with the legislation and official guidance to carry out the work and maintain safe and healthy work practices relating to the following: • methods of work • safe use of health and safety control equipment • safe use of access equipment and harness systems • safe use, storage and handling of materials, tools and equipment • operative maintenance of installation equipment • specific risks to health including mental health • specific risks associated with ventilation and combustion appliances | 3 A1, B3 | the types of fire extinguishers and how and when they are used in relation to water, CO2, foam, powder how emergencies should be responded to in accordance with company procedure and personal limits in relation to: • fires, spillages, injuries • emergencies relating to occupational activities • identification and reporting of asbestos containing materials the organisational security procedures for tools, equipment and personal belongings in relation to: • site • workplace • siting and location of vehicles • company • customer • access equipment • material and waste storage • the general public how to report risks and hazards identified by the following: • risk assessment • personal assessment • methods of work • safe systems of work • suppliers and manufacturers’ technical information • data sheets • statutory regulations • official guidance • Control of Substances Hazardous to Health (COSHH) the accident reporting procedures and who is responsible for making the report why, when and how health and safety control equipment identified by the principles of prevention should be used in relation to: • collective protective measures • personal protective equipment (PPE) • respiratory protective equipment (RPE) • local exhaust ventilation (LEV) environmentally responsible work practices to meet current legislation, standards and official guidance when dealing with potential accidents, health hazards and the environment in relation to: • below ground level • confined spaces • at height • tools and equipment • materials and substances • movement and storage of materials by manual handling and mechanical lifting | 2 A 1 ii, D1 | A, B, D | 3 A2
Selection of resources | select the required quantity and quality of the following resources for the methods of work: • check the suitability, compatibility and characteristics of the materials, components and finishes, and determine if they are moisture open or moisture • record and report issues or defects • select tools and equipment | 2 B1, C2, D3, E1, E2 | why the characteristics, compatibility, quality, uses, sustainability, limitations and defects associated with the resources are important and how defects should be rectified the organisational procedures to select resources, why they have been developed and how they are used how to confirm the resources and materials conform with the specification how the resources should be used and how any problems associated with the resources are reported how to identify the hazards associated with the resources and methods of work and how they are overcome how to calculate the quantity of materials required as per the system designer specification and wastage associated with the method and procedure for external wall insulation | 2 A 1 ii, D1 | A, B, D, E, | 3 A2, B4
Minimise the risk of damage | comply with company procedures to minimise the risk of damage to the work and surrounding area by: • protecting the work and its surrounding area • maintaining a safe, clear and tidy work area • disposing of waste in accordance with current legislation |  | the importance of protecting the work and its surrounding area against the risk of damage how to protect work and its surrounding area from damage and the purpose of protection from general workplace activities, other occupations and adverse weather conditions and how to minimise damage to existing building fabric why and how the disposal of waste must be carried out safely in accordance with the following: • environmental responsibilities • company procedures • manufacturers’ information • statutory regulations • official guidance why it is important to maintain a safe, clear and tidy work area | 2 D4 3 A2 | A
Approach to work | complete your work within the estimated, allocated time and performance requirements of the system design, method statement and the required standard | 2 B1, C2, D3, E1, E2 | the importance of team work and communication the programme of work to be carried out including the estimated and allocated time and why deadlines should be kept the types of progress charts, timetables and estimated times and the organisational procedures for reporting circumstances which will affect the work programme | 2 E1, E3 | B, D

## Experience
Experience
Information that can be evidenced to confirm level of experience | Assessment Methods
Mandatory Experience requirements
Provide evidence of occupationally relevant qualifications (Level 3 NVQ or Level 6 SVQ or Apprenticeship Level 3) | Review of portfolio provided
Review of logbook
Relevant CSCS Card | Review of current CV
Observation
Provide evidence of occupationally relevant system specific training | Touch screen test
Q & A session
Provide evidence of projects worked on via digital evidence or testimony within the last 3 years | Professional discussion
Official written testimonials from current or previous employer within the last 3 years*
Testimony from clients and/or customers from the last 3 years
Additional Experience requirements
Job description and role summary from employer
Provide evidence of additional training (EWI training, non-vocational qualification and systems specific training)
Current CV
Provide evidence of other occupationally relevant qualifications
Provide further evidence of projects worked on via digital evidence or testimony
*Note this should be provided on letter headed paper to verify the employer to validate this experience.
Revalidation of Competence - Every 5 years
Renewal of CSCS Card
Provide evidence of occupationally relevant system specific training
Provide evidence of projects worked on via digital evidence or testimony within the last 3 years
Testimony from previous or current employer, clients and/or customers from the last 3 years
Official written testimonials from current or previous employer within the last 3 years (On letter head to verify employer)
Evidence of CPD over the last 3 years

## Behaviours
Behaviours
You must be able to demonstrate:
understand and respect duty of care to others including building occupants putting Health, Safety and wellbeing of self and others first and report any non-compliance considerations for the environment and sustainability when using resources and materials and carrying out processes including reuse, recycle and safe disposal of waste taking ownership of own work, personal judgements and actions promotion of a fair, diverse and inclusive culture within the workforce undertaking progressive and appropriate training to increase or maintain level of competence through continuous personal and professional development adaptability to new and changing situations with clients, customers, members of the public and other contractor trades
working well within a team adaptable communication methods to suit audience respecting lines of communication and collaborate with others managing own time effectively recognising differing requirements of site environments compared to domestic environments behaviours that represents your trade and your employer in a positive manner
upholding work ethics, including honesty, integrity and respect for others working within limits of own competence and seek advice from trusted sources when required delivering high quality work using best practice

## CC001
Return to functional map
CC001 | Confirm work activities and resources for the work
Description: | This function in the context of your occupation and work environment, is about identifying your own work activities, adopting safe and healthy work practices, identifying resources to carry out the work and confirmation of a work program/schedule for the work being carried out.
Apprenticeship
| Skills Statements | Apprenticeship Skills Statements | Collated Skills Statements | Knowledge Statements | Apprenticeship Knowledge You must know and understand:
| You must be able to: | You must be able to: | You must be able to: | You must know and understand:
| identify the work activities and assess the resources required from the information available and plan the sequence of work |  |  | how to identify the work activities
| obtain clarification and advice where the resources required are not available |  |  | how to identify the required resources
| evaluate the work activities against project requirements and the requirements of any significant external factors |  |  | how to obtain clarification and advice when the required resources are not available 'how to evaluate the work activities against the following project requirements using work study and risk assessment: • contract conditions • contract programme stipulations • health and safety requirements of operatives
| identify work activities which influence each other and make the best use of the resources available |  |  | how to evaluate the impact to work activities in relation to the following external factors: • other related programmes • special working conditions • weather conditions • other occupations and people • resources • health and safety requirements
| identify changed circumstances that will require alterations to the work programme and justify them to the decision makers |  |  | how to identify which work activities influence each other how to determine how long each work activity will take and the sequencing of activities how work activities and the use of resources can impact on sustainability and environmental requirements
how to identify changes to the work activities to meet changed circumstances how to evaluate the impact to the work activities resulting from changes and report accordingly how to justify to decision makers the impact resulting from changes to the work activities the importance of recognising the limits of your own authority how to prepare a plan for the work activities and required resources

## CC002
Return to functional map
CC002 | Develop and maintain good working relationships
Description: | This function in the context of your occupation and work environment, is about developing and maintaining good occupational working relationships, informing and supporting people interpreting information, adopting safe and healthy working practices.
Apprenticeship
| Skills Statements | Apprenticeship Skills Statements | Collated Skills Statements | Knowledge Statements | Apprenticeship Knowledge You must know and understand: | Collated Knowledge Statements You must know and understand:
| You must be able to: | You must be able to: | You must be able to: | You must know and understand:
| develop, maintain and encourage working relationships to promote goodwill and trust • record(s) of information on advice provided about occupational work activities and/or associated occupations • apply the principles of equality and diversity |  |  | how to develop, maintain and encourage working relationships to promote goodwill and trust with people the importance of applying fairness, inclusion and respect when dealing with others the importance of teamwork and communication including organisational procedures with respect to site behaviours, and how to challenge inappropriate site behaviours
| inform people about work activities in an appropriate level of detail and with an appropriate degree of urgency • record(s) of information and advice given about carrying out the work activities • appropriate timescales • health and safety requirements • co-ordination of work procedures |  |  | how to inform people about work activities in an appropriate level of detail and with an appropriate degree of urgency
| offer advice and guidance to people about work activities and encourage questions, requests for clarification and feedback |  |  | how to encourage questions, requests for clarification and feedback how to offer advice and guidance and help people about work activities
| clarify the proposals with the relevant people and discuss alternative solutions |  |  | how to clarify alternative proposals with the relevant people how to suggest alternative proposals
| resolve differences of opinion in ways that minimise offence and maintain goodwill, trust and respect |  |  | how to resolve differences of opinion in ways which minimise offence and maintain goodwill, trust and respect how to keep records why it is important to keep records
| keep records about occupational work activities to achieve the required outcome relating to the following: • information • advice • guidance • notes of discussions |  |  | show consideration for the needs of individuals by applying the principles of equality and diversity
NB - only tables 1 - 3 relevant?
Table 1: Behavioural competencies
Table 2: Fire safety, structural safety and public safety
Table 3: Managing building safety
Table 4: Knowledge management & communication
Table 5: Buildings as systems, building systems and construction products
Requirement for firestopping is specified in wiring regs - specifies that they should do firestopping and they should be competent to do it, but doesn't specify what competent looks like.

## CC003
Return to functional map
CC003 | Confirm the occupational method of work
Description: | This function in the context of your occupation and work environment, is about assessing project data to determine occupational work methods, adopting safe and healthy working practices, selecting the methods of work, confirming the methods of work to the relevant people associated with the occupation and sourcing additional information.
Apprenticeship
| Skills Statements | Apprenticeship Skills Statements | Collated Skills Statements | Knowledge Statements
| You must be able to: | You must be able to: | You must be able to: | You must know and understand:
| assess and summarise the available project data accurately to determine the occupational work method relating to the following: • programme of work • drawings • specifications • schedules • risk assessments • method statements • manufacturers’ information |  |  | how to summarise project data how to assess the available project data and interpret the work method interpret drawings, specifications, schedules, manufacturer’s information, method of work, risk assessment and programme of work
| obtain additional information from alternative sources in cases where the available project data is insufficient |  |  | how to obtain additional information from alternative sources when the available project data is insufficient
| identify work methods that will make the best use of resources and meet project, statutory and contractual requirements confirm and communicate the selected work method to relevant personnel |  |  | how to identify work methods against technical and project criteria to make the best use of resources and meet project, statutory and contractual requirements how methods of work can achieve zero or low carbon outcomes
| keep records about occupational work activities to achieve the required outcome relating to the following: • information • advice • guidance • notes of discussions |  |  | how to confirm and communicate the work method to relevant people how to apply the principles of equality and diversity when communicating
how to keep records why it is important to keep records

## CC004
Return to functional map
CC004 | Conform to general health, safety and welfare in the workplace
Description: | This function in the context of your occupation and work environment, is about awareness of relevant current statutory requirements and official guidance; responsibilities, to self and others, relating to workplace health, safety and welfare; personal behaviour and security in the workplace
| Skills Statements | NOS Knowledge
| You must be able to: | You must know and understand:
| comply with all workplace health, safety and welfare legislation requirements at all times - avoidance of risk by complying with given information relating to the following - induction - briefings - application of prior training (safe use of health and safety control equipment) adherence to statutory requirements and/or safety notices and warning signs displayed in the workplace or on equipment | what and why health, safety and welfare legislation is relevant to the occupational area
| recognise hazards, associated with the workplace, that have not been previously controlled, and report them in accordance with organisational procedures hazards created by changing circumstances in the workplace are reported | what health, safety and welfare legislation notices and warning signs are relevant to the occupational area and associated equipment Notices and warning signs statutory requirements and/or official guidance for the occupation and the work area
| accept responsibility for, and comply with, organisational policies and procedures in order to contribute to health, safety and welfare show personal behaviour which demonstrates active responsibility for general workplace health, safety and welfare comply with organisational policies and procedures relating to the following - consideration of others - interpretation of given instructions to maintain safe systems of work - contributing to discussions (offer and provide feedback) - maintaining quality working practices - contributing to the maintenance of workplace welfare facilities - storage and use of equipment provided to keep people safe - disposal of waste and/or consumable items | how to comply with control measures identified by risk assessments and safe systems of work
| comply with and support all organisational security arrangements and approved procedures comply with organisational procedures for maintaining the security of the workplace - during the working day - on completion of the day’s work - from unauthorised personnel (other operatives and/or the general public) - from theft | why, when and how health and safety control equipment should be used Health and safety control equipment identified by the principles of protection for occupational use, types and purpose of each type, work situations and general work environment - collective protective measures - local exhaust ventilation (LEV) - personal protective equipment (PPE) - respiratory protective equipment (RPE)
the hazards associated with the work environment Hazards -associated with the occupational area - resources, workplace, environment, substances, asbestos, equipment, obstructions, storage, services and work activities - current common safety risks - current common health risks
how changing circumstances can create hazards
the method of reporting hazards in the workplace Reporting organisational recording procedures and statutory requirements
what the organisational policies and procedures are for health, safety and welfare Policies and procedures in accordance with organisational requirements - dealing with accidents and emergencies associated with the type of work being undertaken and the work environment - methods of receiving or sourcing information - reporting - stopping work - evacuation - fire risks and safe exit procedures - consultation and feedback
how to take active responsibility for health, safety and welfare Responsibility behaviour that affects health, safety and welfare - recognising when to stop work in the face of serious and imminent danger - contributing to discussions and providing feedback - reporting changed circumstances and incidents in the workplace - adhering to the environmental requirements of the workplace
how individual actions and behaviour may affect others
what the types of fire extinguishers are and how and when they are used Fire extinguishers - water, CO2, foam, powder, vaporising liquid and their uses
how security arrangements are implemented in the workplace Security organisational procedures relating to the workplace, general public, site personnel and resources

## EWI001
Function: | Install external wall insulation
Refs: | EWI001
Description: | This function is about preparing and installing external wall insulation.
| Skills You must be able to: | Knowledge You must know and understand:
| remove, measure, mark out, cut, line, level, drill, fit, fix, fill, finish, position and secure to carry out pre-installation checks, assessing, recording and reporting issues as per specification to include: - suitable access - vents ducts, flues and penetrations - services (gas, electric, water, media cables) - architectural features - vegetation - rainwater and soil water services - damp proof course - surface defects - trim projections, cills and overhangs - protections, such as glazing, doors, floors and roofs | how the methods of work to meet the specification and any unintended consequences are identified, reported and actioned
| use and maintain all work tools and equipment | how problems are identified, reported and actioned as per specification following safe, healthy and environmental work practices
| cut and fix pre-formed trims and mounting blocks | how to comply with procedures and skills relating to the areas of work as per specification
| install pattresses for fixtures and fittings | check the design and specification against the materials to be fitted
| apply treatments to existing walls | how to identify record and report issues or defects with the materials and components
| install base track and seal | why it is important to carry out pre- installation checks
how to carry out pre-installation checks, assessing, recording and reporting issues that may inhibit commencement, to include but not limited to: - suitable access - vents ,ducts, flues, rainwater goods and system penetrations - services (gas, electric, water, media cables and signal receiving equipment) - architectural features - vegetation - damp proof course - surface defects - trim projections, cills and overhangs - protections, such as vents, glazing, doors, floors and roofs
why it is important to ensure that all repairs identified as part of pre installation checks are completed prior to installation
the importance and function of pull-out tests
how to identify when specialist skills and knowledge are required and report accordingly including but not limited to: - fire safety - services (gas, electric, water, media cables and signal receiving equipment) - asbestos - vents, ducts, flues, rainwater goods and system penetrations - surface defects - suitable access - heritage and architectural features - ecology
why it is important to identify and report potential thermal bridging
how to identify, record and report unintended consequences not addressed in the design
how and why it is important to avoid unintended consequences not addressed in the design
the effects and restrictions of weather
how not to compromise the function of but not limited to: - windows & doors - damp proof course
how to protect the adjacent surfaces and work areas
why and how to remove ancillary wall fixtures as necessary and to install the system in accordance with the specification, design drawings and method statements
how to prepare surfaces by removing existing defective surface finishes, repairing and using appropriate materials to make good the following, including but not limited to: holes, loose render, belcasts, painted surfaces, remove existing vegetation and treat
how to apply surface treatments to existing walls
why it is important to identify and report architectural features not addressed on the design
how to recognise, record and report the key issues that may inhibit commencement of boarding including but not limited to: - condition of building fabric - identification of any areas of potential water penetration - visibility of damp proof course - condition of window and door seals and reveal depths - cill overhangs - height of internal floors in relation to external floor height - condition of roof interface and overhang - damaged building fabric - soil water services - protection and existence of ventilation to include sub floor ventilation - services (gas, electric, water, media cables and signal receiving equipment) - vents, ducts, flues, rainwater goods and system penetrations - gas pipes, chimneys and combustion air ventilators - identification of protected wildlife (nesting birds, bees, bats) - vegetation
how to work with, around and in close proximity to plant and machinery
how to ensure materials are as specification and report any inaccuracies
how to identify and follow the installation quality requirements as per specifcation
how and why it is important to check, record and report issues with construction ventilation, flues, chimneys and combustion air ventilators pre and post installation
how to prepare and install insulated external wall system in accordance with the system design, specification and details, method statement and the required standard
how to cut and fix pre-formed trims and mounting blocks
how to cut, line, level, drill, fix and seal tracks, beads, shims, joints, cills and flashings
how to install insulated pattresses for fixtures and fittings
how to apply weather sealing and compressive tapes at interfaces and penetrations
how to install insulation to specified fixing pattern using adhesive and or mechanical fasteners
how to apply cill detail as per specification
how to carry out any repairs after boarding installation
how to ensure fixtures are not protruding and boards rasped back flat and gaps closed as per specification
why and how to complete post installation checks, compliance with specifications, and report any issues
how to use all work tools and installation equipment in line with manufacturers' and system specifications
how to work at height using access equipment and harness systems
how and why maintenance of all work tools and installation equipment is carried out
the different types of air and vapour control layers and breather membranes, where and how they should be used
the importance of ensuring the integrity of air and vapour control layers and breather membranes, following installation and the need to maintain integrity
why it is important to immediately record and report unforeseen events including but not limited to materials, equipment malfunctions, situations and faults not identified in the original design
how to handover and sign off to the site manager or client satisfaction
why and how to complete post installation checks, compliance with specification

## EWI002
Function: | Apply surface finishes to external wall insulation
Refs: | EWI002
Description: | This function is about applying dash finishes, proprietary precast finishes, corner and surface beads, renders, paint finishes and brick slips to external wall insulation
| Skills You must be able to: | Knowledge You must know and understand:
| measure, mark out, mix, apply and fit make good including any defects | how the methods of work to meet the specification and any unintended consequences are identified, reported and actioned
| carry out external pre-installation checks, assessing, recording and reporting issues to include: - suitable access - background condition and suitability - identification of the product used against specification - fixing integrity - vegetation - rainwater goods and system penetrations - position of damp proof course - vents and ventilation - services (gas, electric, water, media cables and signal receiving equipment | how problems are identified, reported and actioned as per specification following safe, healthy and environmental work practices
| use and maintain all work tools and equipment | how to comply with procedures and skills relating to the areas of work as per specification
| check or apply protection to openings, fixtures and surrounding areas against the risk of damage | check the design and specification against the materials to be fitted
| apply corner and surface beads, trims day breaks/joints and expansion joints | how to identify record and report issues or defects with the materials, components and finishes
| apply base coats, reinforcing mesh and stress patches in accordance with the design and checking at each stage for: - cracking - dampness | why it is important to carry out pre- finishes checks
| apply sealant tapes and strips in line with the system designer specification | how to carry out pre-installation checks, assessing, recording and reporting issues that may inhibit commencement to include but not limited to: - suitable access - background condition and suitability - identification of product used against specification - fixing integrity - vegetation - damp proof course - trim projections, cills and overhang protections such as vents, glazing, doors, floors and roofs - vents, ducts, flues, rainwater goods and system penetrations - services (gas, electric, water, media cables and signal receiving equipment) protections, such as vents, glazing, doors, floors and roofs
| prepare and apply external wall insulation (EWI) surface finishes to system designer specification, method statement and the required standard for: - dash finishes - synthetic or non-synthetic renders | how and why it is important to check, record and report issues with construction ventilation, flues, chimneys and combustion air ventilators pre and post installation
| fit weather seals and mastics in line with specification | why it is important to identify and report potential thermal bridging
| reinstatement of external furniture such as rainwater goods and systems penetrations | how to recognise, record and report the key issues that may inhibit commencement of the work including but not limited to: - condition of the background insulation - identification of any areas of potential water penetration - visibility and completeness of damp proof course - condition of window and door seals and reveal depths - cill overhangs - condition of roof interface and overhangs - rainwater goods and systems penetrations - protection and existence of vents and ventilation to include sub floor ventilation - services(gas, electric, water, media cables and signal receiving equipment) - flues, gas pipes, and chimneys and combustible air ventilators - identification of protected wildlife (nesting birds, bees, bats) - vegetation
| carry out post installation checks and handover | how to identify when specialist skills and knowledge are required and report accordingly including but not limited to: - suitable access - vents, ducts, flues, rainwater goods and system - services (gas, electric, water, media cables and signal receiving equipment) - asbestos - surface defects - heritage and architectural defects - ecology - fire safety - penetrations
| carry out post installation repairs and handover | how and why to identify, record, report unintended consequences not addressed in the design
why it is important to avoid unintended consequences not addressed in the design
how to protect the adjacent surfaces and work areas
why it is important to explain installation procedure to building occupants to include but not limited to the following: - scope and work programme - safety requirements during the installation process - protection of property and personal items - specific benefits and implications to include homeowner information - agreed standards of making good
how not to compromise the function of but not limited to: - windows & doors - damp proof course
how to work with, around and in close proximity to plant and machinery
how to identify and follow the installation quality requirements as per specification
how to ensure materials are as per specification and report any inaccuracies and defects
how to fix corner surface beads and trims as per specification
how and when to apply base and primer coats, reinforcing mesh and stress patches
how to fit weather seals at interfaces, window and door reveals and at system penetrations in accordance with the specification, design drawings and method statements
how to apply dash finishes, synthetic and non-synthetic renders, paint finishes, brick slips and brick effect render to external wall insulation system including door and window reveals
how to reinstate fixtures and fittings and seals in accordance with the specification, design drawings and method statements"
how to use all work tools and installation equipment
how to work at height using access equipment and harness systems
how and why maintenance of all work tools and installation equipment is carried out
Why and how to complete post installation checks, compliance with specifications, including penetrations, fixtures and fittings and report any issues
how to carry out any repairs after installation
why it is important to immediately record and report unforeseen events including but not limited to materials, equipment malfunctions, situations and faults not identified in the original design
why it is important to provide post installation advice and guidance to building occupants and client including homeowner packs
how to handover and sign off to the site manager, client or homeowner satisfaction

## EWI003
Function: | Insulation and building treatments building construction, defects and interfaces
Refs: | EWI003
Description: | This function is about energy efficiency measures, methods of construction and common building defects in relation to the installation of insulation and building treatments
| Skills You must be able to: | Knowledge You must know and understand:
| demonstrate work skills to carry out pre-installation checks (external and internal) in regard to building construction, defects and material interfaces | the suitability, compatibility and characteristics of the materials, components and finishes, their impact on the building and their appropriateness to the design and physical application
| identify common building defects including but not limited to: - salt contamination - causes of dampness - rain penetration - rising damp - internal moisture vapour - damaged services - structural defects | how to identify, record and report issues or defects with the materials, components and finishes
why it is important to carry out external and internal pre- installation checks
how to carry out external and internal pre-installation checks, assessing, recording and reporting issues to include but not limited to: - property suitability - structural integrity - dampness - decay - exposure ratings - vents and ventilation - services (gas, electric, water, media cables)
why it is important to ensure that all necessary repairs are completed prior to installation
the implications that types of construction and materials have on the introduction of energy efficiency measures and other forms of building treatments with specific reference to: - roofs - walls including internal and external finishes - floors - windows and doors - chimneys and fireplaces - flues and combustion ventilation - ventilation - fabric interfaces and penetrations - existing services
the importance of the correct sequencing of installation of energy efficiency measures and building treatments
how performance varies in different construction types, locations and through the impact of habitation and usage
how alterations, additions and extensions to the original construction can affect the performance of the building
how to identify common building defects and the implications of these when they are present including but not limited to: - salt contamination - causes of dampness - rain penetration - rising damp - internal moisture vapour - damaged services - structural defects
how achieving continuity of the insulation and building treatments can prevent problems such as water ingress, poor energy efficiency and thermal bridges, whilst understanding the unique circumstances at party walls and associated risks to adjoining properties
how to recognise unintended consequences, why they happen, how to avoid them in external fabric including but not limited to: - control of moisture - impacts on neighbouring properties - insulation fitting and placement for different insulation types - junctions - thermal bridging and condensation risks - void ventilation - mould and fungal decay
the impact of ventilation and air flow in conjunction with the installation of thermal efficiency measures
the implications of building defects and the repairs required and how they will affect the choice of energy efficiency measures and building treatments
the importance of compatibility and interactions of materials and the fabric of the underlying building
how to identify if or when specialist skills and knowledge are required and report accordingly, including but not limited to: - fire safety - electrical - gas - asbestos - Radon - heritage - ecology - archaeological and architectural features - ventilation - dampness and building exposure - environmental considerations and risks
the relevance of an assessment of significance and how to recognise specific requirements for structures of special interest, traditional construction, hard-to-treat buildings and historical significance
how your actions can lead to unintended consequences, why they happen, how to avoid them and the importance of reporting them

## Generic behaviours (hidden)
Foundation
Work within limits of own capability and know when to seek advice from others
Use organisational processes to flag up non-compliant works
Challenge unsafe behaviours and activities, and report where necessary
Identify and manage risks to self and others
Keep own work area clean and tidy
Manage own time effectively
Work effectively individually and as part of a team
Communicate effectively
Work in accordance with quality requirements and challenge where they are not being met
Undertake personal development activities to maintain currency of competence
Contribute to zero / low carbon outcomes in the built environment

## SKEB template (hidden)
Ref | Title
Level:
Refs:
Description:
| Skills | Knowledge | Experience | Behaviour
| You must be able to: | You must: | You must evidence: | You must show that you:
Core knowledge
Interpretation of information
Safe working practices
Selection and use of resources
Allocated time