## Sheet1
Application Schedule
Completion Certificate Application (Gateway 3)
Regulation | Title | Information | Further Explanation
The Building (Higher-Risk Buildings Procedures) (England) Regulations 2023
Regulation 40 - Completion Certificate Application
Information requirements |  |  |  | Format - BSR portal
40 (1) | Basics | Application must be made in wriiting to the regulator, signed by the client and must include:
40(1)(a) |  | The name, address, telephone number and (if available) email address of the client
40(1)(b) |  | The name, address, telephone number and (if available) email address of the principal contractor (or sole contractor) and the principal designer (or sole or lead designer)
40(1)(c) | Statement | A statement that the application is made under this regulation |  | Free text or upload
40(1)(d) | Details of the completed work | Description of the work, as built, including:
Location of the HRB
|  | Use of building: • Care, residential or nursing home • Hospital • Student accommodation • Other residential (e.g. prison, boarding school) • Residential dwellings • Other residential (e.g. hotel, hostel) • Office • Industrial • Shop and commercial • Other non-residential |  | Free text (2000 character limit)
|  | Use of each storey (e.g. Ground and Storey 1: shop and commercial, Storeys 2-10: residential dwellings) |  | Free text
|  | Height of building as defined in regulation 5 of the Higher Risk Buildings (Descriptions and Supplementary Provisions) Regulations 2023 | Regulation 5 of The Higher Risk Buildings (Descriptions and Supplementary Provisions) Regulations 2023 | Free text
|  | Number of storeys as defined in regulation 6 of the Higher Risk Buildings (Descriptions and Supplementary Provisions) Regulations 2023 | Regulation 6 of The Higher Risk Buildings (Descriptions and Supplementary Provisions) Regulations 2023 | Free text
|  | Number of residential units |  | Free text
|  | Number of non-residential units |  | Free text
|  | Provision made for drainage of the building |  | Multiple choice
Where paragraph H4 of Schedule 1 to the 2010 Regulations imposed a requirement, the precautions taken in building over a drain, sewer or disposal main to comply with the requirements of that paragraph
Steps taken to comply with any local enactment (where applicable)
Details of the steps taken to comply with any local byelaws or requirements that apply
40(2)(a) | Date of completion | A notice stating the date on which the building work was completed
40(2)(b) | Site and location plan | A plan to a scale of not less than 1:1250 showing— (i)the size and position of the higher-risk building and its relationship to adjoining boundaries; (ii)the boundaries of the curtilage of the building, and the size, position and use of every other building within the curtilage; (iii)the width and position of any street on or within the boundaries of the curtilage of the building; |  | PDF upload
40(2)(c) | As built information (see below schedule) | Such other plans that are necessary to show that the HRB work, a stage of HRB work or work to existing HRB complied with all applicable requirements of the building regulations
Declarations
40(1)(e) | Compliance Statement | A signed statement from each Client involved in the building confirming: • Their details • That to the best of their knowledge the as-built building complies with all relevant requirements of the Building Regulations Note: The current Client must provide an explanatory statement if such a statement cannot be provided by any previous Client
40(1)(f) |  | A statement, signed by both the client and the relevant person, confirming that the information to be provided to the relevant person in accordance with regulation 38 (handover of information on completion etc) has been given and the relevant person has received the information.
40(5) | Compliance declaration - Principal designer | A statement from each Principal Designer that has worked on the building confirming: • Their details • The dates of their appointment • That they have fulfilled their duties under Part 2A of the Building Regulations. Note: The Client must provide an explanatory statement if such a statement cannot be provided by any current or previous dutyholders
40(5) | Compliance declaration - Principal contractor | A statement from each Principal Contractor that has worked on the building confirming: • Their details • The dates of their appointment • That they have fulfilled their duties under Part 2A of the Building Regulations Note: The Client must provide an explanatory statement if such a statement cannot be provided by any current or previous dutyholders
40(2)(g) | Authorisation statement | Where the application is made by someone on behalf of the client, a statement signed by the client confirming they agree to the application being made and that the information contained in the application is correct.
Updated Agreed Documents
40(2)(d)(i) | Construction control plan | Details of how: • Building work was managed to comply with Building Regulations • Compliance was monitored • Compliance was evidenced • Sufficient information and instruction was given to those doing the work
40(2)(d)(ii) | Change control plan | An up to date copy of the Change Control Plan showing how Controlled Changes were managed on the project
40(2)(d)(iii) | Mandatory occurrence reporting system | The system that was implemented in relation to Mandatory Occurrence Reporting
40(2)(d)(iv) | Building regulations compliance statement | Details of how the building work meets the requirements of the Building Regulations, including the design principles and building standards applied to the work: • Identify every single element that needs to demonstrate compliance with each part of the Building Regulations • Clarify which code or standard has been used to demonstrate compliance with an explanation of why it is the most appropriate • Justify how the functional requirements have been met with clear and comprehensible narrative referring to suitably labelled plans and drawings
40(2)(d)(v) | Fire and emergency file | The matters that were considered in relation to approaching fire and structural risks. The proposals adopted and the approaches taken in relation to ensure fire and structural compliance with building regulations. The measures, strategies and policies it is proposed the owner of the building should adopt in order to manage and maintain the building to ensure anyone in it can be safely evacuated in an emergency, including any assumptions made as to the intended occupiers of the building and their likely characteristics and behaviours.
40(2)(e) | Change control log | An up to date copy of the Change Control Log showing all the Major, Notifiable and Recorded Changes made for the project (including evidence of compliance checks and approvals).
Preparing a completion certificate application
1 | The Building Safety Regulator (BSR) expects an application for a Completion Certificate at Gateway Three to demonstrate that work on a Higher-Risk Building (HRB) has been completed in accordance with the documents agreed at Gateway Two and any subsequent Controlled Changes and that it complies with all relevant Building Regulations.
2 | Gateway Three is a new application process which requires all information to be submitted, even where it was previously provided as part of the Gateway Two application. If a Partial Completion Strategy was agreed at Gateway Two and part of the building is intended to be occupied before work is completed on the rest of the building, then a Partial Completion Certificate must be applied for in relation to the work that has been completed.
3 | The information required to complete a completion certificate application will be contained in the Golden Thread, which must be complete, accurate and up to date and have been provided to the Client. The Registered Building Inspector (RBI) for the project should have carried out inspections during the construction process and be in a position to provide information on the level of detail that should be submitted within the application and what should be available on request.
4 | On receipt of an application for a Completion Certificate, the Building Safety Regulator (BSR) will carry out an initial assessment to ensure that all the documents required have been submitted. This is known as the validation stage. If an application is deemed valid, it will progress to the assessment stage. A validated application does not mean that a Completion Certificate will be issued. If the application is deemed not valid, the applicant will be notified and provided with feedback on what further information is required.
Regulation 40(2)(c) - As built information
1 | Statements of assurance | There is no way of establishing what the BSR will request as part of the demonstration of compliance at GW3. This note has been prepared based on the information an RBI would expect to review during the completion process. The important thing is to ensure suitable procedures for gathering information through the construction phase and retaining this as the evidence base - the golden thread. The BSR is not going to review every piece of information at the completion stage. Statements of assurance • These are recommended, linked to the relevant functional requirements identified in the Building Regulations Compliance Statement • The statements should refer to the key risk areas of the construction • Statements can include a sample of evidence (to be determined for each element) to demonstrate compliance. For example this could be a set of sample photographs of cavity barrier installations, linked to the QA process and site inspections undertaken (by the Principal Contractor and BSR as appropriate) • Statements should reference the evidence base that is available, and refer to an indicative sample (if deemed necessary to include). • The Principal Contractor compliance declaration is included in the completion certificate application.
2 | Commissioning information | Please refer to the schedule below for the relevant functional requirements. If easier a schedule of commissioning information can be produced as a separate document
3 | Inspection records | A schedule of site inspections undertaken by the Building Safety Regulator should be produced and incorporated within the final version of the Construction Control Plan. This should include details of the RBI undertaking each inspection and reference to the relevant site inspection reports.
4 | Inspection requests | A schedule of site inspection requests made to the Building Safety Regulator should be produced and included in the above. This should provide a clear audit trail against the inspection schedule provided by BSR as part of the building control approval application, the requests made in relation to those inspections and any other risk element a request for an inspection was made.
5 | Schedule of information | The following is the basis of the golden thread of information - building regulations compliance. A full drawing schedule can be produced and populated during the construction phase, with the Construction Control Plan updated at regular intervals / hold points to demonstrate compliance with the relevant functional requirements. This information should align with and also be featured in the Construction Control Plan submitted and agreed at Gateway 2.
Schedule of information to support regulation 40(2)(c)
Part A
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
Commissioning & Testing
Pile integrity testing results
Concrete cube test results
Pull out test results - cladding elements / fixings / connections
Ground remediation confirmation
Concrete / steel / frame installation details
External brickwork / masonry installation details
Cladding installation details
Specialist cladding / curtain walling testing & certification
As-built information
Structural design philosophy
Disproportionate collapse details and specification
Structural calculations
Ground investigation report
Geotechnical engineering analysis and design for basement & foundation design
Ground water assessment
Wind tunnel assessment
Foundation details & specifications
Detailed foundation sections
Pile & foundation GA drawings
Pile load schedule
Basement GA drawings
Ground to roof GA drawings
Core plans, sections & elevations
Superstructure details
Building sections
RC detailing - details and sections
Movement & tolerance report
Part B
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
|  | Regulation 38(5)(a) | Where Part B of Schedule 1 to the 2010 Regulations imposes a requirement in relation to the work, the fire safety information as defined in Regulation 39(9)* of Building (Higer Risk Buildings Procedures) Regulations 2023.
*Regulation 39(9)
Fire alarm system commissioning certificates
Sprinkler system commissioning certificates
Smoke ventilation system commissioning certificates
Lift commissioning certificates
As-built information
| 0.6.1 | Fire strategy report
| 0.6.2 | CFD Report
| 0.6.3 | CFD input / output data
| 2.1.1 | Architectural plans, sections and elevations
| 2.1.2 | Fire strategy plans
| 2.1.3 | Fire strategy elevations
| 2.1.4 | Typical dwelling plans
| 2.8.1 | External wall type drawing
| 2.8.2 | External wall details
| 2.8.3 | External wall firestopping specification and test data
| 2.13.1 | External door and louvre schedule
| 2.13.3 | External door details
| 2.13.3 | External door certification
| 2.14.1 | Internal wall type drawings
| 2.14.2 | Typical Wall Type Sections, Junction Details and Schedule
| 2.14.3 | Firestopping - Schedule & location plan
| 2.14.4 | Firestopping - Full pack of penetration details
| 2.14.5 | Internal fire stopping specification and test details
2.14.6
| 2.15.1 | Internal fire door schedule
| 2.15.3 | Full pack of internal fire door specifications and test data
| 2.1.1 | External wall types
Fire door schedule
|  | Cavity barrier schedule | Statement regarding the following: (a) QA records for all firestopping installed, system, location, contractor etc. (b) % sample provided for GW3 submission (c) Additional information is available if BSR require (d) Confirmation this has formed part of the regulation 38 handover to the client
Fire stopping schedule
Fire signage layouts
Site layout - boundary details
Sprinkler system - residential
Sprinkler system - non-residential
Fire fighting provisions
Wet / dry riser inlet & outlet specifications & drawings
Fire alarm and detection system
Cause and effect matrix
Secondary power supply details and specification
Emergency lighting installation design and specification
Smoke ventilation system - residential
Smoke ventilation system - car park / basement
Fire fighting lift installation
Evacuation lift installation
Part C
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
As-built information
Site contaminant report - including remediation
Gas membrane - third party checks
Facade specification and details
Curtain walling details and specifications
Cavity drainage requirements - specialist waterproofing report
Roof specifications and details
External walls - DPC, flashing, cavity tray details and specifications
Tanking and vertical waterproofing details and specifications
Floor details and specifications
Condensation risk analysis (as appropriate)
Part E
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| Regulation 41 | Sound testing results
| Regulation 41(4) | Confirmation of Robust Details Limited registration
As-built information
| 0.7.1 | Acoustic report
| 0.4.4 | Communal area specifications
| 2.1.1 | Architectural plans, sections and elevations
| 2.2.4 | Key slab edge details
| 2.11.1 | External curtain walling - details
| 2.12.1 | Window schedule
| 2.12.2 | Window details and specification
| 2.13.2 | Door threshold details
Internal wall types - details sheet
External wall types -details sheet
Part F
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| Regulation 42 | Mechanical ventilation air flow rate testing | Where F1(1) of Schedule 1 to the Building Regulations 2010 applies.
| Regulation 44 | This regulation applies to building work in relation to which paragraph F1(2) of Schedule 1 imposes a requirement, but does not apply to the provision or extension of any fixed system for mechanical ventilation or any associated controls where testing and adjustment is not possible.
Residential flat - ventilation system commissioning certificates
Non-Residential flat - ventilation system commissioning certificates
Car park - ventilation system commissioning certificates
| 0.4.6 | Ventilation design strategy
MVR / MVHR system design
Non-residential unit ventilation design
Car park ventilation system design
| 2.13.1 | External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling
| 3.3.1 | Full Pack Mechanical Apartment Layouts
| 3.3.13.1 | Specialist ventilation - GA layouts
| 3.3.13.2 | Specialist ventilation - Specifications
| 3.3.13.3 | Specialist ventilation - Flow rate calculations
| 2.13.3.1 | External door - details and specification
| 2.13.3.2 | External door - specification
| 2.13.3.3 | External door - certification
Part G
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
Regulation 37(1), 37(2)(b) | 0.4.8 | Water efficiency calculations & certificates - apartments
Sanitary certificates - LTHW / HDPE
Part H
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
SVP testing certificates
Below ground drainage testing certificates
CCTV information
As-built information
| 0.5.1 | Mechanical specification
| 1.4.1 | Below ground level drainage GA - foul water
| 1.4.1 | Below ground level drainage GA - surface water
| 1.4.1 | External drainage GA - foul water
| 1.4.1 | External drainage GA - surface water
| 1.4.3 | Manhole schedule
| 1.4.5 | Drainage specification - attenuation tanks, pumps
| 1.4.5 | Below ground drainage specification
| 3.3.2 | Above ground foul water drainage - design & specification
| 1.4.5 | Above ground surface water drainage - design & specification
| 0.4.12 | Waste strategy
| 2.1.1 | Architectural Plans, Sections and Elevations illustrating waste travel distances
| 2.3.2.1 | Specialist roofing drainage discharge calculations
Part J
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
As-built information
| 3.3.1 | Full Pack of Mechanical Apartment Layouts
| 3.3.15.1 | Heat pumps - GA layouts
| 3.3.15.2 | Heat pumps - Specifications
| 3.3.15.3 | Heat pumps - Calculations
Part K
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
As-built information
Staircase GA plans and specifications
Guarding, balustrade details
Vehicle barriers and protection - details and specification
Glazing specifications
Window cleaning strategy
Part L
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| Regulation 43 | This regulation applies to the erection of a building in relation to which paragraph L1(a)(i) of Schedule 1 imposes a requirement. Where this regulation applies, the person carrying out the work shall, for the purpose of ensuring compliance with regulation 26 F1[F2and regulation 26A] and paragraph L1(a)(i) of Schedule 1— (a)ensure that— (i)pressure testing is carried out in such circumstances as are approved by the Secretary of State; and (ii)the testing is carried out in accordance with a procedure approved by the Secretary of State; and (b)subject to paragraph (5), give notice of the results of the testing to the [F3local authority] [F3building control authority].
| Regulation 44ZA | This regulation applies to building work in respect of a building in relation to which paragraph L2 of Schedule 1 imposes a requirement, but does not apply to the provision or extension of any system for on-site electricity generation where testing and adjustment is not possible.
| Regulation 38(5)(d) | Where paragraph L2 of Schedule 1 to the 2010 Regulations applies in relation to the work, sufficient information about the system for on-site electricity generation in respect of its operation and maintenance requirements so that the system may be operated and maintained in such a manner as to produce the maximum electricity that is reasonable in the circumstances and delivers this electricity to the optimal place for use
| SAP calculations | As built version
| SBEM calculations | As built version
| Building Regulations England Part L (BREL) Report | Signed BREL
| SAP Assessor sign-off | SAP assessor to review and sign-off on the BREL and photographic evidence submitted
For Part L photographic evidence compliance, photographs should be taken at appropriate stages of construction (including each plot's thermal junctions) after the detail is completed and before closing-up works. Images should be of sufficient quality and resolution for auditing, with one photograph per detail showing the location, date, and time of collection. Each image file should also include a plot number and detailed reference.
Energy Performance Certificates (EPC)
Part M
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| 0.4.7 | Access strategy
| 0.4.4 | Communal Area Specification
| 0,4.5 | External landscaping specification
| 0.4.7 | Access strategy
| 0.5.2 | Electrical specification
| 1.1.12 | 1.1.2 - Proposed Levels
| 2.1.1 | Architectural Plans, Sections and Elevations
| 2.1.6 | M4(1) Flat layouts
| 2.16.1 | M4(1) Bathroom plans and elevations
| 2.1.7 | M4(2) Flat layouts
| 2.16.2 | M4(2) Bathroom plans and elevations
| 2.1.8 | M4(3) Flat layouts
| 2.16.3 | M4(3) Bathroom plans and elevations
| 2.7.2.2 | Lift - Full Pack of Details
| 2.14.1 | Internal wall type drawings
| 2.14.6 | Reflected ceiling plans
| 2.14.7 | Floor Type Drawings
| 2.17.1 | M4(1) Kitchen Manufacturers Design Information - Full Pack of Drawings & Specifications
| 2.17.2 | M4(2) Kitchen Manufacturers Design Information - Full Pack of Drawings & Specifications
| 2.17.3 | M4(3) Kitchen Manufacturers Design Information - Full Pack of Drawings & Specifications
| 3.2.2 | Fire alarm schematics
| 3.2.14.1 | Fire alarm GA
| 3.2.14.3 | Certification
| 3.2.14.4 | Commissioned evacuation alarm sound levels
Part O
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| 0.5.1 | Mechanical specification
| 0.5.3 | Overheating report
| 2.12.1 | Window schedule
| 2.12.2 | Window specification and details
| 3.3.1 | Full Pack of Mechanical Apartment Layouts
| 3.3.13.1 | Specialist ventilation - GA layouts
| 3.3.13.2 | Specialist ventilation - Specifications
| 3.3.13.3 | Specialist ventilation - Flow rate calculations
CIBSE’s TM59 thermal modelling report
Part P
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
Electrical system commissioning certificates
| 0.5.2 | Electrical specification
Part Q
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| 2.13.1 | External door and louvre schedule
| 2.13.3 | External door details
| 2.13.3 | External door certification
| 2.14.1 | Internal wall type drawings
| 2.14.2 | Typical Wall Type Sections, Junction Details and Schedule
| 2.15.1 | Internal fire door schedule
| 2.15.3 | Full pack of internal fire door specifications and test data
Part R
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| 0.5.2 | Electrical specification
| 3.2.1 | Electrical - flat layout
| 3.2.11 | Communication and data schematic
| 3.2.2 | Containment layout
Part S
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
| 0.5.2 | Electrical specification
| Regulation 44D | The requirements of paragraph S1 of Schedule 1 apply in relation to the erection of a new residential building with associated parking as follows.
Part T
| Reference used in CLC Guidance Note 04 Annex A Application Information Schedule | Information
As built plan
Guidance Note: 09
Annex: 9D
Version: 1.0
Published: 18/12/25

## Sheet2
0.5.2 - Electrical Specification 3.2.12 - Fire Alarm Schematic | 3.2.14.1 - Fire Alarm Specialist - General Arrangement Layouts 3.2.14.2- Fire Alarm Specialist - Specifications 3.2.14.3 - Fire Alarm Specialist - Certification 3.2.14.4 - Fire Alarm Specialist - Typical Evacuation Alarm Sound Levels Layouts | - | 3.2.14.4 - Fire Alarm Specialist - Evacuation Alarm Sound Levels Layouts
0.5.2 - Electrical Specification 3.2.4 - Lighting Layouts 3.2.16 - Common Area Lighting - Lux Level Calculations | - | - | -
2.1.2 - Fire Strategy Plans 0.5.2 - Electrical Specification | - | - | -
0.4.2 - Dry-lining Specification 2.1.2 - Fire Strategy Plans 2.14.1 - Internal Wall Type Drawings 2.14.2 - Typical Wall Type Sections, Junction Details and Schedule | - | - | -
2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details | 2.8.3.1 - External Wall Fire-stopping - Specification 2.8.3.2 - External Wall Fire-stopping - Test Data | - | -
2.13.1 - External Door and Louvre Schedule - Including Free-air Requirements and Measurements in Accordance with Regulation and CFD Modelling 2.14.3 - Firestopping - Location Plans 2.14.4 - Firestopping - Typical Penetration Details 3.3.3 - Mechanical Services Layouts | 3.3.13.1 - Specialist Ventilation - General Arrangement Layouts 3.3.13.2 - Specialist Ventilation - Specifications 3.3.13.3 - Specialist Ventilation - Flow Rate Calculations 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations 2.14.5.1 - Internal Fire-stopping - Specification 2.14.5.2 - Internal Fire-stopping - Test Data | 2.14.4 - Firestopping - Full Pack of Penetration Details | 2.13.3.1 - Specialist External Door - Details 2.13.3.2 - Specialist External Door - Specifications 2.13.3.3 - Specialist External Door - Certification
0.3.1 - Façade Specification 0.4.1 - General Construction Specification 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.11.1 - External Curtain Walling - Typical Details 2.12.1 - Window Schedule 2.12.2 - Window - Typical Details | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 2.9.1.1 - SFS - General Arrangement Drawings 2.9.1.2 - SFS - Typical Details 2.9.1.3 - SFS - Specifications 2.9.1.4 - SFS - Test Certificates 2.9.1.5 - SFS - Structural Calculations 2.12.3.1 - Window Manufacturer - General Arrangement Layouts 2.12.3.2 - Window Manufacturer - Typical Details 2.12.3.3 - Window Manufacturer - Specifications 2.12.3.4 - Window Manufacturer - Certification | 2.11.1 - External Curtain Walling - Full Pack of Details 2.12.2 - Window - Full Pack of Details | 2.12.3.2 - Window Manufacturer - Full Pack of Details
0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | - | - | -
0.4.10 - Site Wide Fire Strategy Plan 0.6.1 - Fire Strategy | - | - | -
0.4.4 - Communal Area Specification 2.14.1 - Internal Wall Type Drawings 2.14.6 - Reflected Ceiling Plans 2.14.7 - Floor Type Drawings | - | - | -
0.4.1 - General Construction Specification | 2.5.1.1 - Specialist AOV - General Arrangement 2.5.1.2 - Specialist AOV - Specification 2.5.1.3 - Specialist AOV - Calculations 2.5.2.1 - Specialist Roof Hatch - General Arrangement 2.5.2.2 - Specialist Roof Hatch - Specification 2.5.2.3 - Specialist Roof Hatch - Calculations | 0.4.11 - Full NBS Specifications | -
0.2.1 - Structural Basis of Design 0.4.2 - Dry-lining Specification 2.8.1 - External Wall Type Drawing 2.8.2 - External Wall Details 2.14.1 - Internal Wall Type Drawings 2.14.2 - Typical Wall Type Sections, Junction Details and Schedule | 2.8.3.1 - External Fire-stopping - Specification 2.8.3.2 - External Fire-stopping - Test Data 0.4.2 - Drylining specification | 2.14.2 - Full Pack of Wall Type Sections, Junction Details and Schedule | -
0.4.1 - General Construction Specification 2.3.1 - Typical Roof details (Including Upstand, Flashing and Parapet) | 2.3.2.1 - Specialist Roofing - Rainwater Discharge Calculations | - | 2.3.2.2 - Specialist Roofing - Tapered Insultation Design 2.3.2.3 - Specialist Roofing - Specifications
3.3.1 - Typical Mechanical Apartment Layouts 3.3.3 - Communal Mechanical Services Layouts 0.5.1 - Mechanical Specification | 3.3.16.1 - Sprinklers - General Arrangement Layouts 3.3.16.2 - Sprinklers - Specification 3.3.16.3 - Sprinklers - Calculations | 3.3.1 - Full Mechanical Apartment Layouts | 3.3.16.4 - Sprinkler Details
0.6.1 - Fire Strategy 2.7.1 - Lift - Typical Details 3.3.3 - Communal Mechanical Services Layouts | 2.7.2.1 - Lift - General Arrangement Layouts 2.7.2.2 - Lift - Typical Details 2.7.2.3 - Lift - Specifications | - | 2.7.2.2 - Lift - Full Pack of Details
0.6.1 - Fire strategy 0.6.2 - CFD | 0.6.3 - CFD Input/Output Files 3.3.14.1 - Specialist Smoke - General Arrangement Layout 3.3.14.2 - Specialist Smoke - Specification 3.3.14.3 - Specialist Smoke - Calculations | - | -
0.6.1 - Fire Strategy 3.3.7 - Dry/Wet Riser Schematic | 3.3.17.1 - Dry/Wet Riser - General Arrangement Layouts 3.3.17.2 - Dry/Wet Riser - Specification | - | 3.3.17.3 - Dry/Wet Riser - Calculations
Note on B19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Why was this relevant to Part B roof over fire compartment walls? No issue providing it, just concerned this would be challenged why it is noted here.
Note on D20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What details would be outstanding at this point? It was previously typical info submitted for GW2 and full info as a Requirement, this updated schedule provides a lot more info at GW2 which is fine to do.
Note on D23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This could be part of GW2 application if engaging a contractor for a dry riser design. Why make a Requirement?